Affordable Care Facility Assessment

Additional Services

Electrical/Plumbing Assessment

# PROJECT DETAILS

| Site Number: | XXXXX |
| --- | --- |
| Project Type: | Affordable Care Facility Assessment |
| Site Address: | Address |
| Site Total SF: | SF |

# SUMMARY

| - ELECTRICAL ASSESSMENT |  |
| --- | --- |
| - What is the existing electrical load in the lab area? |  |
| - Is the lab area a dedicated circuit? |  |
| - Do all circuits in the lab area have adequate amps is additional equipment requiring 3.8 amps may be installed without overlanding the circuit? If no, please describe |  |
| - What is the existing electrical load in the X-Ray area? (Maybe in multiple locations) |  |
| - Do all circuits in the X-ray area have adequate amps? |  |
| ▪ Test all existing circuits in the X-Ray area to ensure adequate amps available so that additional equipment requiring 10.8 amps may be installed without overloading the current circuits. - Note: if the lab area circuit is not dedicated to the lab area, please indicate that new dedicated circuit is required. |  |

| - PLUMBING ASSESSMENT |  |
| --- | --- |
| - Provide camera inspection/sewer video inspection of existing sewer system from building to city connection. ▪ If no clean out is located, please remove, and reinstall a toilet or other plumbing fixture as needed to perform the work. |  |
| - Is there a clean out located? |  |
| - Slope of the waste lines? Is the slope adequate for possible rests room addition or relocation? |  |