Site Survey Report

| ## Survey Type | New Store – Tenant Improvement |
| --- | --- |
| ## Address |  |
| ## Project Name |  |
| ## Project Number |  |
| ## Prepared by |  |
| ## Date |  |
| ## Template Version | 1.0 |

This survey is owned by the requesting company. It is confidential information as defined under your company’s Non-Disclosure Agreement with the requesting company and should not be disclosed to any unauthorized person, either wholly or in part, without the prior consent in writing of the requesting company.

| TEMPLATE CHANGE LOG |  |  |  |
| --- | --- | --- | --- |
| Revision | Description | Change Control | Approved By |

Attendees

EXECUTIVE SUMMARY

The following is a summary of the most significant issues and findings affecting this site and recommendations for development opportunities:

Location:

Environmental Conditions:

Jurisdictional Environment:

Landlord /Developer:

Architectural Design Elements:

Signage:

Exterior:

Structure:

Mechanical:

Electrical:

Plumbing:

Barrier Free Accessibility:

Fire & Life Safety:

Telecommunication:

Interior Conditions:

Security:

TABLE OF CONTENTS

1. PROJECT DATA	6

1.1 Contacts	6

1.2 Project Data	12

1.3 Architectural & Site Context	13

1.4 Site Maps	14

2. BUILDING CODES, PERMITS, DESIGN & JURISDICTIONAL REQUIREMENTS	16

2.1 Building Codes	16

2.2 Permits	17

2.3 Jurisdictional Design Approvals	18

2.3 Additional Design Review Considerations	18

2.5 Permits & Additional Jurisdictional Requirements	19

2.6 Design Requirements	21

2.7 Health Code Requirements	22

2.8 Fire/Life Safety Codes and Regulations	23

2.9 Signage	24

2.10 Construction Conditions & Regulations	25

3. ZONING INFORMATION AND SITE CONDITIONS	26

3.1 General Zoning Information	26

3.2 Zoning Easements	27

3.3 Building Setbacks and Height Restrictions	28

3.4 Site Conditions	28

4. UTILITIES	30

4.1 HVAC	30

4.2 Water Service	31

4.3 Electric Service	32

4.4 Telephone Service	33

4.5 Gas Service	34

4.6 Sanitary Sewer Service	34

5. BUILDING INFORMATION	35

5.1 Building Systems	35

5.2 Building Restrooms	36

5.3 Building Security	37

5.4 Building Deliveries	38

5.5 Building Solid Waste Provisions	39

5.6 Building “Other”	39

6. PHOTOGRAPHS	40

6.1 Lower Level 1, Storage Area	40

6.2. Lower Level 1, Front of House	43

6.3 Lower Level 1, Service Corridor	54

6.4 Upper Level 2, Service Corridor	56

6.5 Upper Level 2, Tenant Space	58

6.6 Roof Level, Loading Dock	66

6.7 Mall Concourse	67

7.0 DRAWINGS	70

7.1 Floor Plan	70

8. REFERENCES	71

8.1 Reference Material	72

# 1. PROJECT DATA

# 1.1 Contacts

The following contacts may also be applicable to your project: Building Owner, Real Estate Broker/Agent, Surveying Engineer, Historic Review, Traffic, etc. There are three “other” spaces included. Insert additional contacts in the table below as appropriate.

Client

| Title | Amazon |
| --- | --- |
| Name | Erin Meyer |
| Address | 400 9th Ave N |
| City, State, Zip | Seattle WA 98109 |
| Phone # | 206-923-646 |
| Fax# |  |
| Email | erinmeye@amazon.com |
| Website | Amazon.com |

Surveyor

| Title |  |  |
| --- | --- | --- |
| Name |  |  |
| Address |  |  |
| City, State, Zip |  |  |
| Phone # |  |  |
| Fax# |  |  |
| Email |  |  |
| Website |  |  |

Architect

| Title | CallisonRTKL |
| --- | --- |
| Name | Scott Homan |
| Address | 200 S Michigan Ave #2400 |
| City, State, Zip | Chicago, IL 60604 |
| Phone # | 206-786-4429 |
| Fax# |  |
| Email | Scott.homan@crtkl.com |
| Website | Callisonrtkl.com |

Return to top

Building Contact

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Zoning Department

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Building Department

| Title |  |  |
| --- | --- | --- |
| Name |  |  |
| Address |  |  |
| City, State, Zip |  |  |
| Phone # |  |  |
| Fax# |  |  |
| Email |  |  |
| Website |  |  |

Fire Department (plan review)

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

*refer to URW tenant handbook page 2 for complete contact info

Electric Supplier

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Gas Supplier

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Water Supplier

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Wastewater

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Telephone Service

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Data Service

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Trash Collection

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Recycling Service

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Compost Service

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Public Works

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Health Department

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Other

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Other

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Emergency Contact Information

Fire Department

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Police Department

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

Hospital

| Title |  |
| --- | --- |
| Name |  |
| Address |  |
| City, State, Zip |  |
| Phone # |  |
| Fax# |  |
| Email |  |
| Website |  |

# 1.2 Project Data

| Property Information |  |
| --- | --- |
| Jurisdiction/Local Governing Authority |  |
| Leasable Area (Total Area Available for Lease) |  |
| Useable Area (Total Area to be used for the store build-out) |  |
| Common Area (Area that is not part of the lease, but may affect the store build-out) |  |
| Length of Lease |  |
| Building Hours of Operation |  |

# 1.3 Architectural & Site Context

| Architectural Context Evaluate and identify any characteristics that distinguish the site and/or building |  |
| --- | --- |
| Surrounding Structure Is site part of a larger enclosed structure? |  |
| Adjacent Structures Is site structure physically attached to a neighboring structure? |  |
| Neighborhood Characteristics |  |
| Historical Features |  |
| Architectural Features |  |
| Potential Reuse Opportunities Existing elements that could be incorporated into the design (wood floors, brick walls, fixtures, columns, beams, etc.) |  |

# 1.4 Site Maps

# 2. BUILDING CODES, PERMITS, DESIGN & JURISDICTIONAL REQUIREMENTS

# 2.1 Building Codes

| What are the applicable Building Codes? |  |
| --- | --- |
| What are the applicable Municipal Codes? |  |

# 2.2 Permits – Full information pending expediter onboarding

| Permit | Requirements for submittal | Review Duration | Fees ($) |
| --- | --- | --- | --- |
| Grading | n/a |  |  |
| Demolition |  |  |  |
| Building |  |  |  |
| Mechanical |  |  |  |
| Electrical |  |  |  |
| Low Voltage |  |  |  |
| Plumbing |  |  |  |
| Signage |  |  |  |
| Fire |  |  |  |
| Health | n/a |  |  |
| Other |  |  |  |
| What are resubmittal procedures, and fees? |  |  |  |

# 2.3 Jurisdictional Design Approvals – N/A for Interior Tenant Improvement

| Design Committee Considerations |  | Check if Table does not apply ☒ |
| --- | --- | --- |
| Is submission to a Design Committee (Neighborhood, University, Port Authority, Historical, Landlord, etc.) required? If so provide detail and answer questions below for each. |  |  |
| What are the dates the committee(s) meets? |  |  |
| How long is Design Review? |  |  |
| How may submittals be delivered to the jurisdiction? |  |  |
| Is an appointment needed for submittal? |  |  |
| If an appointment is required, approximately how far out are appointments at this time? |  |  |
| What is the number of plan sets required at the time of submission? |  |  |
| Are concurrent submissions and applications to various committees and / or the Building Department accepted and under what circumstances? |  |  |
| Who provides approval for the committee? |  |  |
| How long is the appeal period (if any)? |  |  |
| May a Building Permit be applied for during an appeal period? |  |  |

# 2.3 Additional Design Review Considerations

| ## Additional Design Review Considerations | ## Check if Table does not apply ☐ |
| --- | --- |
| ## Is the site within a Historic District? |  |
| ## Is the site within a Historic or Landmark Building? |  |
| ## What is the historic status of the building? (Federal, State, Local – granted or seeking?) |  |
| ## Are there any restrictions due to historic status? |  |
| ## Identify Design Review authority with regard to historic status |  |
| ## Is the site in a Redevelopment Zone? |  |
| ## Are Mall/Shopping Center tenant reviews required? |  |
| ## Does the building have a master use permit and are there any special requirements (e.g. transparency requirements)? |  |
| ## Are National Parks reviews required? |  |
| ## Other |  |

# 2.5 Permits & Additional Jurisdictional Requirements

| Permits / Requirements |  |
| --- | --- |
| May permits be obtained without landlord signature? |  |
| Must a signed lease accompany a permit application? |  |
| Who is required to sign the Construction Documents? |  |
| How may submittals be delivered to the jurisdiction? |  |
| Number of plan sets required at the time of submission |  |
| Who signs the permit for the jurisdiction? |  |
| Is an appointment needed for submittal? |  |
| ## Approximately how far out are appointments at this time? |  |
| ## Other submittal requirements | 1 stamped Set by Mall |

# 2.6 Design Requirements

| New Use |  | Check if Table does not apply ☐ |
| --- | --- | --- |
| Building Construction Type |  |  |
| Proposed Use Group |  |  |
| Existing Use |  | Check if Table does not apply ☐ |
| Existing Use Group |  |  |
| Alternate Existing Use Group |  |  |
| Length of Occupancy |  |  |
| Previous Use |  | Check if Table does not apply ☐ |
| Previous Occupancy |  |  |
| Previous Use Group |  |  |
| Length of previous Occupancy |  |  |
| LEED Certification |  |  |
| Is the building LEED Certified? |  |  |
| What is the LEED Certification |  |  |
| Is the building seeking future LEED certification? |  |  |
| Does the building have a water use reduction plan? |  |  |
| Egress |  |  |
| Describe the quantity and configuration of existing exits |  |  |
| Describe any occupancy, area and path of travel restrictions based on the number of existing exits |  |  |
| Are existing exits permissible under current building code? |  |  |
| Are exits through work/storage areas permitted? |  |  |
| Accessibility Requirements |  |  |
| How much of the lease premises are required to be accessible? |  |  |
| Identify the path of travel from accessible parking to accessible store entrance |  |  |
| Are there any grade changes that require ramps? |  |  |
| Is a lift an acceptable alternative to a ramp? |  |  |
| Describe any special materials required. |  |  |
| What is the handicapped accessible seating requirement? |  |  |
| Is the local accessibility code more restrictive than federal ADA requirements? |  |  |
| Restroom Requirements |  |  |
| Describe quantity and type of existing restrooms |  |  |
| Are the existing restrooms handicap-accessible? If no, describe in detail. |  |  |
| Are common area restrooms available? |  |  |
| What is the distance of accessible path of travel to common restrooms? |  |  |
| Will the existing restrooms satisfy the current codes for the proposed new use? |  |  |
| Are there any low flow fixtures in the common area restrooms? |  |  |
| How many restrooms are required for customer and employee use? |  |  |
| Is exterior seating part of the restroom requirement calculation? |  |  |
| Are restrooms required to be accessible? |  |  |
| Is jurisdictional accessibility code more restrictive than typical standards (ADA)? |  |  |
| If Yes, identify the code source and section for determining restroom requirements. |  |  |
| Do restrooms exhaust to the outside of the building? |  |  |
| Where does exhaust terminate? |  |  |
| Is curent installation code complaint? |  |  |
| Seating Considerations |  |  |
| Indoor Seating |  |  |
| Will the number of seats be restricted? |  |  |
| Are stand-up counters to be included in the seating calculations? |  |  |
| Exterior Seating |  |  |
| Is exterior seating permitted? |  |  |
| What is the maximum exterior seating area permitted? |  |  |
| What is the maximum number of seats permitted? |  |  |
| What is the minimum clearance to obstructions? |  |  |
| Is an enclosure required? |  |  |
| Is a permit required for outdoor seating? |  |  |
| Are outdoor seats calculated as part of the total number of seats? |  |  |
| Does the landlord have furniture restrictions or requirements (including umbrellas or furniture storage)? |  |  |
| What is the outdoor handicapped accessible seating requirement? |  |  |
| Additional Considerations |  |  |
| Describe type and condition of existing windows shading. |  |  |
| Does landlord require window shading or covering? |  |  |
| Describe type and intensity of solar exposure. |  |  |
| Describe any transparency requirements the jurisdiction and/or landlord has for storefront glazing. |  |  |

# 2.7 Health Code Requirements

| Health Codes |  | Check if this table does not apply to this report ☐ |
| --- | --- | --- |
| Where are hand sinks required? |  |  |  |
| What type of hand dryers are required? |  |  |  |
| Is a 4-compartment utility sink required? |  |  |  |
| Is a Sanitizing Dishwasher required? |  |  |  |
| If Yes, note which type is acceptable |  |  |  |
| Is a garbage disposal required? |  |  |  |
| Is a trash compactor required? |  |  |  |
| Are equipment cut sheets required at permit submission? |  |  |  |
| Are special ceiling finishes required? |  |  |  |
| Are special wall finishes required? |  |  |  |
| Are special floor finishes required? |  |  |  |
| Are special base materials or installations required? |  |  |  |
| Are sneeze guards required? |  |  |  |
| What are food and perishable storage requirements? |  |  |  |
| Are eye wash stations required? |  |  |  |

# 2.8 Fire/Life Safety Codes and Regulations

| Separation Requirements | Check if this table does not apply to this report ☐ |
| --- | --- |
| Use Groups being separated |  |
| Exterior Wall |  |
| Demising Wall |  |
| Ceiling |  |
| Floor |  |
| Roof |  |
| Flame / Smoke Spread | Check if this table does not apply to this report ☐ |
| Interior Finishes |  |
| Murals |  |
| Fabrics |  |
| Other |  |
| Fire Marshal Regulations | Check if this table does not apply to this report ☐ |
| Are sprinklers required? |  |
| Are existing sprinklers to be retained? |  |
| Is a separate sprinkler main required? |  |
| Is there an existing fire alarm system? |  |
| Is the store alarm required to be tied to the building system? |  |
| Is an annunciator required? |  |
| Is a fire panel required by this jurisdiction? If yes, answer the following: |  |
| Does the fire panel require 24/7 monitoring? |  |
| Does the Fire Alarm Panel have to be monitored by local provider? |  |
| How many times per year is an inspection and test required for the Fire Alarm Panel? |  |
| Does local fire marshal require a specific color for exit signage? |  |
| Are there any local fire restrictions on components? |  |
| Distance to the nearest fire hydrant |  |
| Is a new hydrant required? |  |
| Are fire hose reels required? |  |
| Is an FD Y connection required |  |
| Are fire lanes required? |  |

# 2.9 Signage

| Signage - General | Municipal | Landlord / Property Mgmt |
| --- | --- | --- |
| Describe the signage in the vicinity of the site |  |  |
| Describe signage requirements and/or restrictions |  |  |
| Describe structural details of exterior walls. Identify obstructions and/or custom attachment details to be identified |  |  |
| Describe structural details of interior storefront. Identify obstructions and/or custom attachment details to be identified |  |  |
| Describe material and color of storefront |  |  |
| Is the façade to change during construction? |  |  |
| Other |  |  |
| Signage - External | Municipal | Landlord / Property Mgmt |
| Is there existing signage on the building? If Yes, identify type of signage (blade, pylon, building-mounted, monument), channel letters (thru-wall or raceway-mounted), illuminated or non-illuminated, light source (LED, neon, compact fluorescent), etc. |  |  |
| Are there any signage restrictions? |  |  |
| What is the maximum number of signs allowed by type? |  |  |
| What is the maximum area of total building signage allowed? |  |  |
| Is there a height of sign restriction in place and what are the location parameters (height, projection, clearance, etc.)? |  |  |
| What is considered an illuminated sign in this jurisdiction? |  |  |
| Awnings | Municipal | Landlord / Property Mgmt. |
| Are there existing awnings? |  |  |
| What is the maximum number of awnings allowed? |  |  |
| Are Logos and Lettering allowed on the awnings? |  |  |
| Will awnings (without graphics) require a sign permit? |  |  |
| Will awnings (with graphics) require a sign permit? |  |  |
| What is the maximum area of awnings, the minimum clearance from grade, and maximum projection from building allowed? |  |  |
| Window Signs - Interior | Municipal | Landlord / Property Mgmt |
| Are there existing internal signs in the store? |  |  |
| What is the maximum number of signs allowed that can be seen from the street? |  |  |
| May signs seen from the street be illuminated? |  |  |
| Other |  |  |

# 2.10 Construction Conditions & Regulations

| Construction Issue | Municipal | Landlord / Property Management |  |
| --- | --- | --- | --- |
| Construction must begin within how many days of permit issue? |  |  |  |
| What are permitted hours to work on premises? |  |  |  |
| Are there noise restrictions? |  |  |  |
| What are parking restrictions during construction? |  |  |  |
| What are delivery procedures during construction? |  |  |  |
| Are there heavy load road restrictions? |  |  |  |
| What are the staging requirements for materials? |  |  |  |
| What is the dumpster/trash removal procedure during construction? |  |  |  |
| What are portable toilet restrictions and placement options? |  |  |  |
| Are schedules or reports required during construction? |  |  |  |
| Are there any pre-construction meetings required of the contractors? |  |  |  |
| Are any unusual inspections required during construction? |  |  |  |
| Are there any known security issues the trades should be alerted to? |  |  |  |
| Other |  |  |  |
| Other Construction Issues |  |  |  |
| What potential weather-related issues may affect construction and how? |  |  |  |

# 3. ZONING INFORMATION AND SITE CONDITIONS

# 3.1 General Zoning Information

| Information | Check if this table does not apply to this report ☐ |
| --- | --- |
| Zoning Classification |  |
| Property Zone – Map district ID |  |
| Land Division and Development | Check if this table does not apply to this report ☒ |
| Will development require Subdivision Plat? |  |
| Will development require Parcel division? |  |
| Will development require Lot Line Adjustment? |  |
| Use Classification |  |
| Is retail use permitted? |  |
| Is a variance required? |  |
| Are public hearings required for a variance? |  |
| Allowable Conditional Uses |  |
| Evaluation |  |
| Climate Zone |  |
| Are there existing Covenants? |  |
| Are there Restrictions? |  |
| Are there any site visible posted Condemnations? |  |
| Is the Property a Legal Lot? |  |

# 3.2 Zoning Easements

| On- site Easements | Check if this table does not apply to this report ☒ |
| --- | --- |
| Access to other tracts |  |
| Parking |  |
| Pipelines |  |
| Utility |  |
| Highway / Roadway |  |
| Other |  |
| Off- site Easements | Check if this table does not apply to this report ☒ |
| Cross access |  |
| Parking |  |
| Utility |  |
| Signage |  |
| Storm Water Retention / Detention |  |
| Other |  |

# 3.3 Building Setbacks and Height Restrictions

| Building Setbacks | Check if this table does not apply to this report ☒ |
| --- | --- |
| Front Street Street Name Distance to Property Line |  |
| Side Street Street Name Distance to Property Line |  |
| Second Side Street Street Name Distance to Property Line |  |
| Side Yard Distance to Property Line |  |
| Second Side Yard Distance to Property Line |  |
| Rear Street Street Name Distance to Property Line |  |
| Rear Yard Distance to Property Line |  |
| Other Street / Alley |  |
| Building Height |  |
| Are there any height or visibility restrictions? |  |

# 3.4 Site Conditions

| Environmental Assessment | Check if this table does not apply to this report ☒ |
| --- | --- |
| Is a Level 1 Impact Statement required? |  |
| Is a full EIS (level 2 including borings) required? |  |
| Did the site formerly have a gas station, auto repair, dry cleaner, photo shop or documentation as contaminated by a Phase II Environmental Site Assessment or defined as a brownfield by the local jurisdiction? |  |
| Is the site on Prime Farmland? |  |
| Is the site lower than 5’ (152cm) above the 100 year flood elevation? |  |
| Is the site within 100’ (3048cm) of a wetland or within local jurisdiction’s setback distance? |  |
| Is the site on previously undeveloped land within 50’ (1524cm) of a body of water? |  |
| Is the site on public parkland? |  |
| Storm Water | Check if this table does not apply to this report ☒ |
| Is site part of a Master Development Plan or Retail Center? If Yes, consider the Plan or Center for the following questions. |  |
| Percentage and estimated total area of existing impervious area? |  |
| Is there a storm water management plan in place? |  |
| Are there any storm water rate and flow control measures in place? |  |
| Are there any storm water treatment measures in place? |  |
| Is there any storm water collection and reuse as grey water measure on site? |  |
| Other |  |
| Landscaping | Check if this table does not apply to this report☒ |
| Is a landscaping plan required? |  |
| Is an irrigation plan required? |  |
| Is native or adapted landscaping used for any existing plantings? |  |
| Is high efficiency irrigation used on any existing plantings? |  |
| What is the % of hardscape shaded by existing shade trees? (LEED NC only) |  |
| What is the percentage and estimated total area of light colored hardscape? (LEED NC only) |  |
| Parking | Check if this table does not apply to this report ☒ |
| Is there existing parking? |  |
| Are there any parking requirements? |  |
| What is the formula for calculating the number of required parking stalls? |  |
| Based on existing conditions, will a variance be required? |  |
| Are there other tenants at this location requiring a high number of parking spaces? |  |
| Are handicapped spaces required? |  |
| Are dedicated carpool spaces provided? |  |
| Are dedicated, low emitting and fuel efficient spaces provided? |  |
| Are there any alternative-fuel refueling stations on site? |  |
| What percentage of existing parking and drive aisle pavement is light colored or open-grid pavement (50% void space)? |  |
| Are there existing bike racks? |  |
| Are Parking Lights Recommended? |  |
| Other |  |
| Deliveries – Conditions for site operations | Check if this table does not apply to this report ☐ |
| Describe in detail any delivery restrictions caused by the site conditions. |  |
| What are the allowed delivery locations? |  |
| What types of vehicles are prohibited for deliveries due to site conditions? |  |

# 4. UTILITIES

# 4.1 HVAC

| General HVAC Information | Check if this table does not apply to this report ☐ |
| --- | --- |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Is there an existing HVAC system? |  |
| Who owns and operates the existing HVAC system? |  |
| Can existing HVAC unit be relocated? |  |
| Do any MEP utilities require access through adjacent tenant space? |  |
| Heating & Cooling | Check if this table does not apply to this report ☐ |
| Type of system (chiller, heat pump, etc.) |  |
| Main supply duct/pipe size (forced air, condenser water pipe, etc.) |  |
| Hours of operation |  |
| Is a balancing report available? |  |
| CFM available/static pressure |  |
| Existing Unit* | Check if this table does not apply to this report ☐ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Type (fan coil, VAV, etc.) |  |
| Type (packaged rooftop, split system, heat pump) |  |
| Manufacturer/Model No |  |
| Physical size (WxHxD) |  |
| Describe location of unit |  |
| Voltage |  |
| Amps / HP |  |
| Phase |  |
| Source of power |  |
| Heating capacity |  |
| Cooling capacity |  |
| Energy Star |  |
| SEER/EER/IPLV |  |
| Economizer |  |
| Refrigerant Type |  |
| Age/Condition of units |  |
| Control/Thermostat |  |
| Is replacement or upgrade recommended? |  |
| *Note: If more than one unit exists, add additional tables and describe |  |
| New Unit | Check if this table does not apply to this report ☐ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| For new HVAC, describe proposed system type and location |  |
| Is a structural upgrade required? |  |
| Is fencing or screening required? |  |
| Fresh Air Intake | Check if this table does not apply to this report ☐ |
| Size of openings |  |
| Is an upgrade required? |  |
| Is the site open to an enclosed area that allows smoking? |  |
| Proximity to odors from other businesses |  |
| Restroom Exhaust | Check if this table does not apply to this report ☐ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Do restrooms exhaust to the outside of the building? |  |
| Manufacturer/Condition |  |
| Is replacement recommended? |  |
| Hot Water Heater | Check if this table does not apply to this report ☐ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Is the existing HWH gas fueled? |  |
| Is the existing HWH vented |  |
| Is HWH venting compliant with current codes? |  |
| Other Concerns | Check if this table does not apply to this report ☐ |
| Is noise abatement required? |  |
| Is another vent/exhaust required? |  |
| Is an economizer required? |  |
| Is chase or ceiling space available for ducts and services? |  |
| Drinking fountain |  |
| Restrooms condition |  |
| Steamer location |  |

# 4.2 Water Service

| Water service | Check if this table does not apply to this report ☐ |
| --- | --- |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Is water service available? |  |
| Is a pump or reducer required? |  |
| Size of existing main |  |
| Location of existing main |  |
| Water meter number |  |
| Size of existing water line on property |  |
| Size of existing water line to space |  |
| Describe location of water line into space |  |
| Does the provider guarantee water service to the property? |  |
| Where is the meter to be located? |  |
| Fee (Tap/Meter) |  |
| Who performs tap? |  |
| Who furnishes meter? |  |
| Who installs service to the property line? |  |
| Existing Hot Water Heater | Check if this table does not apply to this report ☒ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Size |  |
| Source of power |  |
| Manufacturer/Model No. |  |
| KW |  |
| Voltage |  |
| Amps |  |
| Heating Capacity |  |
| Age |  |
| Describe location of HWH |  |
| Other |  |
| Procedures for obtaining Special Water and Sewer Permits |  |

# 4.3 Electric Service

| New Electric Service | Check if this table does not apply to this report ☒ |
| --- | --- |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Service size available |  |
| Location of existing primary service line |  |
| Is primary service overhead or underground? |  |
| Does the provider guarantee electrical service to the property? |  |
| Will a new pole be required? |  |
| What is the time required for obtaining permanent power? |  |
| Is temporary power available? |  |
| Where is the meter to be located? |  |
| New Electric Service to Proposed Space | Check if this table does not apply to this report ☐ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| If the building is new, describe the Landlord’s proposed service to the space |  |
| Where / what distance is the nearest service strike? |  |
| Describe the means for achieving service (penetrations, conduit, trenching, etc.) |  |
| Describe proposed location of new service |  |
| Electric Service Set up/Upgrade procedure | Check if this table does not apply to this report ☒ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Estimate the time required for a service upgrade |  |
| Who is responsible for the upgrade cost? |  |
| Fee (Tap/Meter) (if applicable) |  |
| What is the total amount of power in the building? |  |
| Electric Service to Existing Space | Check if this table does not apply to this report ☐ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Transformer Mounting Type |  |
| Transformer Distance |  |
| Transformer Service – Primary V A |  |
| Transformer Service – Secondary V A |  |
| Transformer Enclosure rating |  |
| Size of existing conduit to space |  |
| Describe location of existing service into space |  |
| Location of main electrical room |  |
| Distance from meter to space |  |
| Existing meter number (serial#) |  |
| Does the meter supply Tenant |  |
| Describe the existing electrical panel |  |
| (For New Construction) Describe proposed location of new service |  |
| Recommendations for service and panel if relocation necessary |  |
| Is there sufficient clearance/ separation around electrical equipment? |  |
| Is a transformer required? |  |
| Can transformer be suspended? |  |
| Describe the HVAC disconnects |  |
| Are there any existing electrical code violations that need correction? |  |
| Assessment of existing lighting |  |

# 4.4 Telephone Service

| Telephone | Check if this table does not apply to this report ☐ |
| --- | --- |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Has application (Landlord or otherwise) been made for phone service to the site? |  |
| Has a pathway been provided (by Landlord or otherwise) from the telephone company to the pedestal to the building? |  |
| Has a phone company’s engineer inspected and approved the pathway? |  |
| Has a telephone demarcation point been established? |  |
| What is the distance from the demarc to Tenant space? |  |
| Is there permanent power within 10’ of the demarc? |  |
| Probable point of connection location |  |
| Location of existing service lines (overhead or underground) |  |
| Describe installation requirements |  |
| Does provider guarantee service to the building? |  |
| Other |  |
| Data | Check if this table does not apply to this report ☐ |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Is there a data panel board? |  |
| How is data service provided to the building? |  |
| How is data service provided to the space? |  |
| Is there fiber-optic cable to the building? |  |
| Is there fiber-optic cable to the space? |  |

# 4.5 Gas Service

| Gas | Check if this table does not apply to this report ☒ |
| --- | --- |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| What fees are required to extend gas to the required location on the site? (if applicable) |  |
| Is natural gas available to space? |  |
| Describe location of existing stub |  |
| Size of existing gas line |  |
| Is side wall venting allowed? |  |
| Is the use of gas equipment recommended at this site? |  |

# 4.6 Sanitary Sewer Service

| Sanitary Sewer | Check if this table does not apply to this report ☐ |
| --- | --- |
| List all missing information and/or discrepancies that require further investigation from MEP trade contractors or the landlord. |  |
| Is sanitary sewer available? |  |
| Is there a main extension required? |  |
| Does the provider guarantee sewer service to the property line? |  |
| What is the minimum service size? |  |
| Describe location of sewer main in space |  |
| Who installs sewer service (jurisdiction, plumber, other)? |  |
| Sewer Tap fee (if applicable) |  |
| Is a sewer easement required? |  |
| Is the sewer Public or Private? |  |
| Is there an existing septic tank? |  |
| Size of septic tank |  |
| What are local requirements for design & installation of a septic system? |  |
| Procedures for obtaining Special Water and Sewer Permits |  |
| What are the fat, oil, and grease abatement requirements (type, size, and connections)? |  |

# 5. BUILDING INFORMATION

# 5.1 Building Systems

| General Evaluation | Check if this table does not apply to this report ☐ |
| --- | --- |
| Interior Condition |  |
| Exterior Condition |  |
| Hazardous Waste History |  |
| Number of Levels/Stories |  |
| Are there tenants above the space? |  |
| Are there tenants below the space? |  |
| Tenants adjacent to space? |  |
| Store Front and Windows | Check if this table does not apply to this report ☐ |
| Provide additional tables as required |  |
| Assemblies |  |
| Locations |  |
| Finishes |  |
| Color |  |
| Single or double glazed |  |
| Tinted glaze |  |
| Shading/Covering |  |
| Exterior Doors & Frames | Check if this table does not apply to this report ☐ |
| Provide additional tables as required |  |
| Assemblies |  |
| Condition |  |
| Height/Width |  |
| Threshold Condition |  |
| Existing Hardware |  |
| Are doors accessibility compliant? |  |
| Exterior Walls | Check if this table does not apply to this report ☐ |
| Structural System |  |
| Finish |  |
| Thickness |  |
| Material |  |
| Condition |  |
| Problems |  |
| Fire Rating |  |
| Construction Type |  |
| Demising Walls | Check if this table does not apply to this report ☐ |
| Assembly |  |
| Condition |  |
| Fire Rating |  |
| Finish Material |  |
| Finish material height |  |
| Finish material condition |  |
| Finish material- Recommendation for Reuse |  |
| Wall height |  |
| Existing Interior Walls | Check if this table does not apply to this report ☐ |
| Assembly |  |
| Condition |  |
| Finish material |  |
| Finish material height |  |
| Finish material condition |  |
| Finish material- Recommendation for Reuse |  |
| Wall height |  |
| Columns | Check if this table does not apply to this report ☐ |
| Material |  |
| Structural |  |
| Furred out |  |
| Floors | Check if this table does not apply to this report ☐ |
| Assembly |  |
| Condition |  |
| Existing finish material |  |
| Existing finish material - Recommendation for Reuse |  |
| Fire rating |  |
| Sub-floor material & condition |  |
| Is floor level? |  |
| Structural framing size, type, and spacing |  |
| Is existing flooring adequate for installation of new finish tile? |  |
| Is a walk-off mat provided? |  |
| Ceilings and Soffits | Check if this table does not apply to this report ☐ |
| Types |  |
| Condition |  |
| Finish Materials |  |
| Finish Materials- Recommendations for Reuse |  |
| Height AFF |  |
| Height to structure |  |
| Maximum finished ceiling height with HVAC |  |
| Finish Material above existing ceiling |  |
| Features worth saving or incorporating into the design |  |
| Roof | Check if this table does not apply to this report ☒ |
| Condition |  |
| Waterproofing condition/integrity |  |
| Waterproofing - recommendation for reuse |  |
| Structural framing size, type, and spacing |  |
| Assembly |  |
| Lighting | Check if this table does not apply to this report ☐ |
| Interior lighting (type, condition, and recommendations for reuse) |  |
| Exterior lighting (type, condition, and recommendations for reuse) |  |
| Stairs | Check if this table does not apply to this report ☒ |
| Assembly |  |
| Condition |  |
| Type (Straight run, winding, etc.) |  |
| Width |  |
| Rise/Run |  |
| Number of landings |  |
| Are the stairs code compliant? |  |
| Are the stairs self-supporting or bearing on adjacent walls? |  |
| Handrail type |  |
| Obstructions Running Vertically thru Space i.e. chase | Check if this table does not apply to this report ☐ |
| Structural |  |
| Material |  |
| Size |  |
| Height AFF |  |
| Chases for MEP Systems |  |
| Obstructions Running Horizontally thru Space i.e. pipes, ducts | Check if this table does not apply to this report ☐ |
| Structural |  |
| Material |  |
| Size |  |
| Height AFF |  |

# 5.2 Building Restrooms

| Restrooms | Check if this table does not apply to this report ☐ |
| --- | --- |
| Configuration and Condition |  |
| Fixtures/Hardware |  |
| Fixtures/Hardware Condition |  |
| Are fixtures/hardware recommended for reuse? |  |
| Are restrooms accessibility compliant? |  |

# 5.3 Building Security

| Security | Check if this table does not apply to this report ☒ |
| --- | --- |
| Is there security lighting at the building exterior? |  |
| Are there security grills at building openings? |  |
| Identify any types of security needed (e.g. locking cabinets, equipment, doors) |  |

# 5.4 Building Deliveries

| Delivery Restrictions |  |
| --- | --- |
| Describe in detail any delivery restrictions |  |
| What are the permissible loading hours? |  |
| What are the allowed delivery locations? |  |
| What types of vehicles are prohibited for deliveries? |  |
| Can pallet trucks be used? |  |
| Delivery Access | Check if this table does not apply to this report ☐ |
| Is there a loading dock? |  |
| Describe configuration and condition of loading dock. |  |
| Is the loading bay level? |  |
| Is there a dock plate or ramp? |  |
| Is there a freight elevator or lift? |  |
| What are the useable dimensions of the elevator/lift W x D x H? |  |
| What is the opening size to the lift / elevator? |  |
| What is the clear opening size @ the delivery door W x H? |  |
| What is the width of any access corridors between delivery door and back of house? |  |
| What is the minimum width (pinch point) a delivery would need to pass through? |  |
| Is there an alternate delivery route for oversized items? |  |
| What is the clear width of the back of house door? |  |
| How is the delivery corridor lit? |  |
| Describe in detail including distances the delivery route from loading zone to back of house store room. |  |
| Other Delivery Information |  |
| Is there a fork lift? |  |
| Describe in detail any additional on-site storage available. |  |
| Is there a dock master? |  |
| Are there any restrictions on food or perishable deliveries? | - |
| Where may food or perishables be stored prior to transport to store location | - |

# 5.5 Building Solid Waste Provisions

| Solid Waste Debris |  |
| --- | --- |
| Is a dumpster provided? |  |
| Is there a dumpster enclosure? |  |
| Is a hose bib provided? |  |
| Are the required drainage provisions or materials for the enclosure provided? |  |
| Is a trash room provided? |  |
| Are the specific floor or wall finishes required for a trash room provided? |  |
| Is a compactor provided? |  |
| Is waste hauling contracted by the landlord? |  |
| Does Landlord provide all the required items? |  |
| How far is the solid waste drop-off from back of house door? |  |
| Describe route between the solid waste drop-off and back of house door? |  |
| Has the landlord provided a solid waste pick up schedule? |  |
| Recycling |  |
| Is recycling available at site? |  |
| What waste streams are available to be recycled from this site? |  |
| Does the building have an on-site recyclable sorting area? |  |
| Has the landlord provided a recycling waste pickup schedule? |  |
| Other waste items of note |  |

# 5.6 Building “Other”

| Other | Check if this table does not apply to this report ☐ |
| --- | --- |
| Is seismic upgrading required? |  |
| Is there visible water damage? (Standing water, existing leaks, rot, cracks, deterioration, etc.) |  |
| Is there external storage space available? |  |
| Is there any evidence or suspicion of asbestos being present? |  |
| Is there a fireplace? |  |
| Additional Information |  |
| Comments and Observations |  |

Upper level had a floor build up on the plan north west corner.  The adjacent mall concourse is sloping near the build up.

# 6. PHOTOGRAPHS

# 6.1 Lower Level 1, Rear Storage

# 6.2. Lower Level 1, Front of House

# 6.3. Lower Level 1, Service Corridors

# 4. Upper Level 2, Service Corridors

# 6.5. Upper Level 2, Tenant Space

# 6.6. Roof Level, Loading Area

# 6.7. Mall Concourse

7.0 DRAWINGS

# 7.1 Floor Plans

# 8. REFERENCES

Note additional documents that are being attached to this report or referenced as pertinent to the site and/or planned project scope (e.g. Asbestos Report, Landlord/Developer Requirements, Previous Survey, Signage Vendor Site Survey Report)

# 8.1 Reference Material