## Sheet1
Category | Item | Site Condition
General | Store Number
General | Address
General | County
General | Year Built
General | Square Footage
General | No. of Stories
General | Climate Zone
General | Hurricane Shutters?
General | Impact Rating Required/NOA?
General | Interior & Exterior Condition
General | Is existing space sprinklered
General | Are adj. tenants sprinklered
Site | Number of entrances to site
Site | Location of main entrance to site
Site | Location of supplemental entrances to site
Site | Location of service entrances to site
Site | Describe traffic circulation patterns to site
Site | Describe any traffic limitations to service area
Site | Describe conditions of parking lot, curbs, asphalt, striping and sidewalks in parking area
Site | 1. Is accessible parking located in front of space? 2. How many spaces? 3. Do they meet current code? If no, describe upgrades deficiencies and upgrades required
Site | How many spaces are van accessible?
Site | Dimensions of accessible spaces and loading areas
Site | Describe accessible path of travel from parking to store. Does this meet code?
Site | Drive aisle width in front of store
Site | Describe condition of landscaped areas
Site | Describe parking area site lighting: 1. Type of lighting? 2. Approx. height of pole? 3. Spacing of poles
Site | Recommendations (reseal, restripe, patch and repair)
Site | Describe grading around building
Site | Description of grading at sidewalk
Site | Can Entry/Exit doors be located anywhere along frontage or are there grade limitations? (sidewalk above/below finish floor?
Site | Can exit doors be located anywhere along side/rear of building? Is grade along side/rear of building above/below finish floor?
ADA | Accessible curb ramp modifications:
ADA | Confirm no ADA deficiencies at egress doors:
ADA | Confirm no ADA deficiencies at store interior:
ADA | Confirm no ADA deficiencies at exterior:
ADA | Does accessible ramp/curb cut meet current code?
ADA | Dimensions of landing at top of ramp
ADA | Dimensions of landing at storefront doros
ADA | Describe any other accessibility issues
Exterior Walls | Structural Description
Exterior Walls | Thickness
Exterior Walls | Material
Exterior Walls | Bearing/Non-Bearing
Exterior Walls | Condition; does interior furring extend to deck?
Exterior Walls | Fire Rating
Exterior Walls | Is Insulation visible? If so, type and thickness.
Exterior Walls | Construction Type
Exterior Walls | Describe any exterior lighting (wall packs and decorative).
Exterior Walls | Describe types of lamps, control of fixtures and if any emergency lighting exists on the exterior.
Demising Walls | Assembly (i.e. gyp. board, studs, batt insulation, mesh, etc.)
Demising Walls | Condition; does furring extend to deck?
Demising Walls | Fire Rating
Demising Walls | Finish Material
Demising Walls | Finish material height
Demising Walls | Finish material condition
Demising Walls | Wall height
Demising Walls | Finish material salvageable for reuse?
Columns | Material
Columns | Structural
Columns | Furred out
Columns | Integral to design
Columns | Identical
Columns | Chases for MEP/Equipment
Roof | Provide warranty information if applicable.
Roof | Roof Manufacturer:
Roof | Roof Type:
Roof | Year installed:
Roof | Roof:
Roof | Roof Manufacturer:
Roof | Roof Type:
Roof | Provide warranty information if applicable.
Roof | Roof deck type and thickness?
Roof | Is roof mono-slope or multi-slope?
Roof | Does roof drain to grade or sewer?
Roof | Condition of Roof
Roof | Describe existing roof access
Roof | 1. Is insulation visible?
Roof | 2. If so, is it above or below the roof deck?
Roof | 3. Is it batt or rigid?
Roof | How does roof drain – single pitch, gutters / downspouts, scuppers, internally drained. Storm system or surface drain?
Roof | Do the current RTUs have any screening? Parapet walls, metal screens…
Canopy | Construction
Canopy | Finishes and colors
Canopy | Accent Roof
Canopy | Under canopy material
Canopy | Under canopy lighting –
Canopy | 1. What condition is it in
Canopy | 2. How is it controlled?
Canopy | 3. Fixture type?
Canopy | 4. Emergency lighting?
Canopy | Description of adjacent Tenant Canopies.
Canopy | Describe storm drainage – does the storm tie into and underground storm line, drain onto grade of the sidewalk…
Canopy | Is there a sprinkler system in the canopy and/or under the canopy
Canopy | General condition
Storefront/Entry | Storefront Assembly
Storefront/Entry | Location of storefront and height above finish floor.
Storefront/Entry | Storefront Finishes/color
Storefront/Entry | Single or double glazing/tinting/shades
Storefront/Entry | Exterior lighting - decorative lighting
Storefront/Entry | Condition
Storefront/Entry | Recommendations for reuse of storefront
Storefront/Entry | Storefront Doors – sliders or swing doors?
Storefront/Entry | Location of Entry doors
Storefront/Entry | Size of entry door (s)
Storefront/Entry | Entry door finish and color.
Storefront/Entry | Condition of door(s)
Storefront/Entry | Recommendations for reuse of entry doors.
Building Sign | Building Sign #1 Color/Size
Building Sign | Building Sign #2 Color/Size
Building Sign | Building Sign #3 Color/Size
Clear Height | Any obstructions below joists?
Clear Height | Provide clear height :
Floors (multi-level) | Can mezz be removed or intregral to structure?
Floors (multi-level) | What is required to remove mezzanine?
Floors (multi-level) | Assembly
Floors (multi-level) | Existing finish material
Floors (multi-level) | Condition
Floors (multi-level) | Fire rating (i.e. Spray/ fireproofing visible)
Floors (multi-level) | Sub-floor material
Floors (multi-level) | Sub-floor condition
Floors (multi-level) | Describe vertical transportation
Vertical Obstructions | 1. Are obstructions structural
Vertical Obstructions | 2. List vertical obstructions that would prohibit ceilings to be at prototype 13’-6”aff height.
Vertical Obstructions | Height of obstructions above finished floor
Vertical Obstructions | Can they be relocated to achieve prototype ceiling height?
Ceilings | Type
Ceilings | Materials
Ceilings | Condition
Ceilings | Height
Ceilings | Other finish materials above existing ceiling
Ceilings | Features worth saving or incorporating into design
Restrooms | 1. Are the existing restrooms ADA compliant?
Restrooms | 2. If so, can they be reused?
Restrooms | 3. Describe overall condition.
Restrooms | Number of fixtures? Men? Women?
Other | Significant architectural features that could be incorporated into design
Other | Standing water
Other | Existing leaks, rot, cracks, deterioration
Other | Additional Information?
Other | 1. Does the proposed lease space require the removal or penetration of an existing fire wall?
Other | 2. If so, will this be feasible (i.e. with sprinkler or area increases)
Loading Dock | Confirm dock is dedicated for our use 24/7
Loading | Describe current conditions
Loading | Confirm dock is dedicated for our use 24/7
Loading | Existing truck well? If so, distance BFF?
Loading | Drain or sump pump at the bottom of truck dock?
Loading | Retaining wall/screen wall? If so, construction?
Loading | Compactor - Describe current conditions
Loading | Description of existing Receiving door
Loading | Condition of receiving door
Loading | Height/Width of receiving door
Loading | Existing Hardware on receiving door
Loading | Description of existing compactor door
Loading | Condition of compactor door
Loading | Height / Width / above finish floor /above grade of compactor door
Loading | Existing Hardware on compactor door
Loading | Describe dumpster location/conditions
Loading | Is there a dedicated trash enclosure?
Loading | Is there space to accommodate new dumpster location?
Loading | Trash dumpster pad proto size (10x15)?
Electrical Service | Electric meter number and location.
Electrical Service | Confirm meter is dedicated/List utility provider.
Electrical Service | Define the total capacity – amps/volts
Electrical Service | Transformer/Mounting/Distance to existing space?
Electrical Service | Secondary Service
Electrical Service | Size of existing conduit to space
Electrical Service | Distance from meter to space and location of meter
Electrical Service | Existing meter number(s) for our space
Electrical Service | Is service underground or overhead?
Electrical Service | Does the meter supply our space only?
Electrical Service | Describe the existing panels and indicate location.
Electrical Service | How is parking lot lighting, canopy, exterior lighting controlled?
Electrical Service | Recommendations for service and panel. (Be specific and complete.)
Electrical Service | Will an upgrade be required?
Electrical Service | Where is the nearest location to obtain service?
Electrical Service | Delivery time for new transformer from Utility Company if required.
Electrical Service | Tap Fees
Electrical Service | Impact Fees
Telephone Service | Phone service entry & backboard location
Telephone Service | Telephone Size of conduit.
Telephone Service | Fiber or Copper? Unable to Determine?
Fire Service (Alarm) | Describe fire alarm system:
Fire Service (Alarm) | Location, make/ model of existing FA panel.
Fire Service (Alarm) | FA - Is stand-alone system acceptable?
Fire Service (Alarm) | FA-Sytem req'd to be directly connected to exist?
Fire Service (Alarm) | FA - Occupant notification required?
Fire Service (Alarm) | FA - Full conduit required?
Fire Service (Sprinkler) | Describe Fire Suppression System
Fire Service (Sprinkler) | Provide Diameter of incoming fire service line:
Fire Service (Sprinkler) | Riser placard data/existing sprinkler density:
Fire Service (Sprinkler) | FS-Diameter of incoming fire service line:
Fire Service (Sprinkler) | FS - Extent of existing system to remain
Fire Service (Sprinkler) | FS - Water Supply Analysis
Fire Service (Sprinkler) | 1. Are sprinklers existing?
Fire Service (Sprinkler) | 2. Is it dedicated to Baby space or shared with other tenants?
Fire Service (Sprinkler) | Location of riser.
Fire Service (Sprinkler) | Size of riser.
Fire Service (Sprinkler) | Static Pressure:
Fire Service (Sprinkler) | Residual Pressure:
Fire Service (Sprinkler) | Residual GPM:
Fire Service (Sprinkler) | Density / Remote area:
Fire Service (Sprinkler) | Backflow prevention existing or new required?
Fire Service (Sprinkler) | If new service is required that are the tap fees:
Fire Service (Sprinkler) | Impact Fee:
Gas Service | Meter location and size:
Gas Service | Is this service sufficient for Buy Buy Baby?
Gas Service | Distance to space?
Gas Service | Size of gas line
Gas Service | If no meter exists, is gas available to other tenants on site?
Gas Service | Is gas available in the building?
Gas Service | Describe the procedure to set up the service in the space
Gas Service | Fees necessary to provide service
Gas Service | Utility Provider, confirm meter dedicated
Mechanical | Describe type of system:
Mechanical | Manufacturer/Model No. / Serial No.
Mechanical | Type:
Mechanical | Voltage
Mechanical | Heating capacity (BTU’s)
Mechanical | Cooling capacity (Ton’s)
Mechanical | Age/Condition of units
Mechanical | Recommend replacements? (If not prototypical, describe type of system required for this site.)
Mechanical | Proximity to smells (Bakery, Fast Food, Manufacturing, Processing Plants, etc.)
Mechanical | Is any other vent/exhaust required?
Mechanical | Chase or ceiling space available for duct runs?
Mechanical | Recommendations?
Mechanical | (#) existing units / tonnage:
Mechanical | Air distribution system/duct mounting heights.
Domestic Water (Existing) | Location
Domestic Water (Existing) | Meter number
Domestic Water (Existing) | Pressure in PSI
Domestic Water (Existing) | Is this service sufficient for Baby flush valves?
Domestic Water (Existing) | Is service shared with other tenants?
Domestic Water (New Service) | Distance to tie-in in feet
Domestic Water (New Service) | Estimated cost of tie-in? Including tap impact fees?
Domestic Water (New Service) | Estimated time required?
Sanitary (Existing) | 1. Is there an existing sewer tie in?
Sanitary (Existing) | 2. Location?
Sanitary (Existing) | 3. Size?
Sanitary (Existing) | Is this sufficient for Baby?
Sanitary (Existing) | 1. Is there an existing grease trap?
Sanitary (Existing) | 2. If so, can it be filled in?
Sanitary (Existing) | Based on observation of cleanouts, manholes, etc is it possible that this line can be shared with other tenants?
Sanitary (Existing) | Is service dedicated to proposed space?
Sanitary (Existing) | Existing grease trap? Can it be infilled?
Sanitary (New) | Distance to nearest tie-in? Feet?
Sanitary (New) | Estimated cost for tie-in? Tap fee?
Sanitary (New) | Estimated time required for tie-in?
Sanitary (New) | What is the procedure to set up service to our space?
Storm | Is there an existing storm tie in? Location? Size? Or does the building surface drain?
Storm | 1. Describe primary roof drainage.
Storm Service | Describe secondary roof drainage.
Storm | 2. Describe overflow roof drainage.
Utility Meters | Utilities dedicated/separate metered for Tenant?
Easements | 1. Any known utility easements on the site?
Easements | 2. Any area where easements seem likely to exist?