SITE survey-template 3

| Project Address | ADDRESS |
| --- | --- |

| Market Business Unit | MARKET |
| --- | --- |

| Project Name | PROJECT NAME |
| --- | --- |
| Project Number Project Type | PROJECT # PROJECT TYPE |
| THIS TEMPLATE COVERS THE FOLLOWING PROJECT TYPES. Licensed Owned; Company Owned. New Store or Scrape and Replace; Conversion; ☐. w/ interior work only; ☒; Ground Up; ☐. w/ interior and exterior work; ☐; Tenant Improvement. Renovation; w/ interior work Only; ☒. w/ interior work only; ☒; w/ interior and exterior work; ☐. w/ interior and exterior work; ☐; Major Renovations; ☒. Minor Renovation; ☒. New Kiosk; ☒. |  |
| Prepared by | CONSULTANT |  |
| Date | DATE |  |
| Survey Template | Version Q2FY21 |  |

Template Change Log

| Revision | Description of Changes | Approved by |
| --- | --- | --- |
| Q4FY19 | Removed minor renovations from project types on template cover page. 2.1 - Added drawings requirements for Health permit 2.4 – Added Grease interceptor requirements and variance questions 2.8 – Added questions regarding AHJ approved plumbing fixtures 4.6 – Revised Telephone and broadband requirements to ensure pertinent information is collected for project scoping | CE |
| Q3FY20 | 2.1 – Added Reference link to Starbucks equipment cut sheet binder 2.4 – Removed variance request information from this section and added to section 4.5 4.5 – Made revisions to this section to support Starbucks new “Grease Interceptor purchasing program” on the SDRC. | CE |
| Q2FY21 | 4.6 – Made revisions to this section to support Starbucks updated Site Internet & Voice Systems process | CE |

Note: All Revisions are highlighted in red below

## TABLE OF CONTENTS

- Refer to the Instructions document for guidance on conducting a Site Survey and preparing this report.  Sections are to be completed as applicable and appropriate for each project site and scope.

FINDINGS SUMMARY	2

1. PROJECT DATA	4

2. BUILDING CODES & PERMITS	7

3. ZONING & SITE INFORMATION	12

4. UTILITIES	14

5. BUILDING INFORMATION	20

6. FACILITY/JOB SITE MANAGEMENT	25

# FINDINGS SUMMARY

The following is a summary of the most significant issues and findings affecting this project.  The following may have significant impact on project Scope, Schedule, and/or Budget.

Note: These items are also highlighted in orange as part of the main report.

## CRITICAL FINDINGS – (CLICK ARROW IN LEFT HAND MARGINE TO DISPLAY)

| 2. Building / Planning / Health |  |
| --- | --- |
| Does Building Require Sprinklers? | ☐ Yes ☐ No (If Yes See Sections 1.1) |
| Does the jurisdiction have an expedited review process? | ☐ Yes ☐ No (If Yes See Sections 2.3a) |
| Are there any Fire separation requirements | ☐ Yes ☐ No (If Yes See Sections 2.5) |
| Are there an accessible path of Travel restrictions? | ☐ Yes ☐ No (If No See Sections 2.6) |
| Are the existing restrooms handicap accessible? | ☐ Yes ☐ No (If No See Sections 2.7) |
| Is a hot-water Sanitizing Dishwasher required? | ☐ Yes ☐ No (If Yes See Sections 2.8) |
| Are special base of wall details required? | ☐ Yes ☐ No (If Yes See Sections 2.8) |
| Case work Base Requirement | ☐ Yes ☐ No (If Yes See Sections 2.8) |
| Are sneeze guards required? | ☐ Yes ☐ No (If Yes See Sections 2.8) |
| Are special base of wall details required? | ☐ Yes ☐ No (If Yes See Sections 2.8) |
| Are there remote storage Requirements? | ☐ Yes ☐ No (If Yes See Sections 2.8) |
| Is outdoor seating allowed? | ☐ Yes ☐ No (If No See Sections 2.10) |
| 3. Zoning and Site |  |
| Are there any signage restrictions? | ☐ Yes ☐ No (If Yes See Sections 3.7) |
| Does the Drive Thru (DT) accommodate a 4 to 5 car stack? | ☐ Yes ☐ No (If No See Sections 3.11) |
| 4. Utilities |  |
| Do the RTU’s need to be replaced, relocated, or upgraded? | ☐ Yes ☐ No (If yes See Sections 4.1) |
| Water Heater: Does the existing heater need to be relocated / replaced? | ☐ Yes ☐ No (If yes See Sections 4.1) |
| Is a 120-208V, 3-phase, 4 wire, and 400 amp service available? (This is the min. service Req.) | ☐ Yes ☐ No (If no See Sections 4.2) |
| Does the existing water main need to be upgraded? | ☐ Yes ☐ No (If yes See Sections 4.3) |
| Does the building require sprinklers? | ☐ Yes ☐ No (If yes See Sections 4.9) |
| Will the (e) fire sprinkler need modifications? | ☐ Yes ☐ No (If yes See Sections 4.9) |
| Is a fire alarm panel required? | ☐ Yes ☐ No (If yes See Sections 4.9) |
| 5. Building |  |
| Will the (e) roof need to be replaced? | ☐ Yes ☐ No (If yes See Sections 5.5) |
| Are structural modifications recommended/required for the roof? | ☐ Yes ☐ No (If yes See Sections 5.5) |
| Are structural modifications recommended or required for the floor? | ☐ Yes ☐ No (If yes See Sections 5.9) |
| Are Fixtures compliant w/ ADA standards | ☐ Yes ☐ No (If no See Sections 5.13) |
| Is there visible water damage in space? | ☐ Yes ☐ No (If yes See Sections 5.15) |
| Is there any evidence of asbestos being present? | ☐ Yes ☐ No (If yes See Sections 5.15) |

Additional details about each of these issues can be found in the body of the report.

# 1. PROJECT DATA

## 1.1 General Information

| TBD | Project Description | ☐ New Construction |  | ☐ STB Single Tenant Building |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | ☐ Existing Construction |  | ☐ As is Conversion ☐ Tenant Imprv. |  |  | ☐ Drive Thru |  |
|  |  | ☐ Renovation |  | ☐ Major ☐ Minor |  |  | ☐ Drive Thru |  |
| ☐ | Overall Building Area (typically determined by Site Surveyor using field measurements) |  | Click or tap here to enter text. |  |  | sqft / m2 |  |  |
| ☐ | Tenant Area (gross sf) (Total area available for lease) |  | Click or tap here to enter text. |  |  | sqft / m2 |  |  |
| ☐ | Tenant Area (net sf) (Total area to be used for the store build-out) |  | Click or tap here to enter text. |  |  | sqft / m2 |  |  |
| ☐ | Common Area (Outdoor Patio / Kiosk Seating) (Area that is not part of the lease) |  | Click or tap here to enter text. |  |  | sqft / m2 |  |  |
| ☐ | Zoning Type | Click or tap here to enter text. | Construction Type |  | Click or tap here to enter text. | Occupancy |  | Click or tap here to enter text. |
| ☐ | Int. Seating # |  | Click or tap here to enter text. |  |  |  |  |  |
| ☐ | Does Building Require Sprinklers? |  | ☐ Yes ☐ No If yes include on findings summary. |  |  |  |  |  |
|  | Other |  | Describe |  |  |  |  |  |

## 1.2 Architectural & Site Context – NA

## 1.3 Location Maps

- Map(s) to show surrounding context of city/streets/neighborhood

- Highlight emergency response service locations within a one (1) mile (1.6 km) radius (Hospital, Fire Department, Police Station, etc.)

- If Evenings program, identify any nightclubs, housing, schools, churches, alcohol treatment centers, or marijuana dispensaries within a one (1) mile radius

- Show True North

## 1.4 Contacts

- The following contacts may also be applicable to your project: Real Estate Broker/Agent, Zoning Department, Historic Review, Traffic, Gas, etc.  Insert additional contacts in the table below as appropriate.

| Contact | Name, Title | Address, City, State, Zip | Phone, Fax, E-mail, website |
| --- | --- | --- | --- |
| Starbucks Contact Design Manager Construction Manager |  |  | Ph: Email: Website: |
| Surveyor/Architect |  |  | Ph: Email: Website: |
| Land Lord Contact |  |  | Ph: Email: Website: |
| Building Department |  |  | Ph: Email: Website: |
| Fire Department |  |  | Ph: Email: Website: |
| Electric |  |  | Ph: Email: Website: |
| Cable/Telephone |  |  | Ph: Email: Website: |
| Water |  |  | Ph: Email: Website: |
| Sewer |  |  | Ph: Email: Website: |
| Health Department |  |  | Ph: Email: Website: |

## Licensed Stores

| Contact | Name, Title | Address, City, State, Zip | Phone, Fax, E-mail, website |
| --- | --- | --- | --- |
| Licensee Contact |  |  | Ph: Email: Website: |
| Licensee Architect |  |  | Ph: Email: Website: |

# 2. BUILDING CODES & PERMITS

## 2.1 Building Codes

| TBD | Codes |  |
| --- | --- | --- |
| ☐ | What are the applicable Building Codes? | Note all that apply |

## 2.2 Permits (Define each as required)

| TBD | Permit | Submittal Requirements (Electronic/In-person, # Sets, Who Submits?) | Review Duration | Fees ($) | Stamp Sign | Payment Method |
| --- | --- | --- | --- | --- | --- | --- |
| ☐ | Planning / Zoning | Not Applicable | NA | NA | NA | NA |
| ☐ | Building | Click or tap here to enter text. |  |  |  |  |
| ☐ | Mechanical | Click or tap here to enter text. |  |  |  |  |
| ☐ | Electrical | Click or tap here to enter text. |  |  |  |  |
| ☐ | Plumbing | Click or tap here to enter text. |  |  |  |  |
| ☐ | Structural | Click or tap here to enter text. |  |  |  |  |
| ☐ | Health | Click or tap here to enter text. |  |  |  |  |
|  | Special drawing requirements for Permit? | ☐ Yes ☐ No Click or tap here to enter text. |  |  |  |  |
|  | Equipment cut sheet requirements. (Link to Sbux cut sheet manual) | ☐ Yes ☐ No Click or tap here to enter text. |  |  |  |  |
| ☐ | Fire Safety | Click or tap here to enter text. |  |  |  |  |
| ☐ | Other | Click or tap here to enter text. |  |  |  |  |
|  | Deferred Submittal |  |  |  |  |  |
| ☐ | Fire Protection | Click or tap here to enter text. |  |  |  |  |
| ☐ | Low Voltage | Click or tap here to enter text. |  |  |  |  |
| ☐ | Signage | Click or tap here to enter text. |  |  |  |  |
| ☐ | Other | Click or tap here to enter text. |  |  |  |  |

| TBD | Impact Fees | NA | NA |
| --- | --- | --- | --- |

## 2.3a Building

| TBD | Building Department ☐ Check if this section is NOT applicable |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ☐ | Requirements for Permit Submittal (Select all that apply) | ☐Cost of Construction ☐ GC license # ☐Sub Contractor list ☐GC Bonding ☐ Intake Fee ☐ Other describe |  |  |  |  |
| ☐ | What is the Total Duration for Building Plan Review | First Round Comments Days/weeks Plan Correction Days/weeks Second Round Review Days/weeks Total Review Days/weeks |  |  |  |  |
| ☐ | What are the procedures for re-issuing Plan Corrections? | Describe procedures/re-submittal requirements |  |  |  |  |
| ☐ | Construction must begin within how many days of permit issuance? | Days |  |  |  |  |
| ☐ | Is there a Permit Extension Available? | ☐ Yes ☐ No Duration If Yes, How do you request |  |  |  |  |
| ☐ | Is a separate demo permit required? | ☐ Yes ☐ No Requirements, Fees, Review duration |  |  |  |  |
| ☐ | Operating Hours (Permit Submittals) | Hours | Can a Demo permit be issued prior to bldg. permit release? |  | ☐ Yes ☐ No |  |
| ☐ | Is an appointment needed for submittal? | ☐Yes ☐ No If Yes, how far out are appointments? |  |  |  |  |
| ☐ | Does the jurisdiction have an expedited review process? | ☐Yes ☐ No If Yes, describe intake requirements |  | Is a GC required for permit submittal? |  | ☐Yes ☐ No |
| ☐ | What is the procedure for revising Approved Permit Drawings? | describe intake requirements, Fee, Review duration |  |  |  |  |
| ☐ | Is Landlord approval needed prior to Permit Submittal? | ☐Yes ☐ No If Yes, describe Requirements |  |  |  |  |
|  | Other submittal requirements | Describe |  |  |  |  |

## 2.3b Planning / Zoning - NA

## 2.4 Additional Permit Information - NA

## 2.5 Fire Resistive Requirements - NA

Define the Separation Requirements between tenants at each of the following assemblies

| TBD | Separation Requirements | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Exterior Wall | Hours/Minutes |
| ☐ | Demising Wall | Hours/Minutes |
| ☐ | Ceiling/Roof | Hours/Minutes |
| ☐ | Floor | Hours/Minutes |

Define the Flame Spread Requirements of each of the following components

|  | ## Flame Spread Requirements | ## ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | ## Casework | Class A,B,C |
| ☐ | ## Substrate | Class A,B,C |
| ☐ | ## Sealants | Class A,B,C |
| ☐ | ## Murals | Class A,B,C |
| ☐ | ## Furniture | Class A,B,C |
| ☐ | ## Fabric | Class A,B,C |
|  | ## Other | Describe |

## 2.6 Egress

| TBD | Egress (Existing Buildings) |  |  | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- | --- | --- |
|  | Describe the quantity and configuration of existing exits |  |  |  |  |
|  |  | Exit 1 | Exit 2 |  | Exit 3 |
| ☐ | Location Size Hardware Accessible Actuator | Describe Height x Width Type ☐Yes ☐ No: If No, describe deficiencies. ☐Yes ☐ No: If Yes, locate on drawings | Describe Height x Width Type ☐Yes ☐ No: If No, describe deficiencies. ☐Yes ☐ No: If Yes, locate on drawings |  | Describe Height x Width Type ☐Yes ☐ No: If No, describe deficiencies. ☐Yes ☐ No: If Yes, locate on drawings |
| ☐ | Describe any path of travel restrictions based on the current egress layout |  |  | Describe |  |
| ☐ | Are existing exits permissible under current building code? |  |  | ☐Yes ☐ No If No, describe modifications necessary. |  |
| ☐ | Are exits through adjoining areas (work/storage) permitted? |  |  | ☐Yes ☐ No |  |
| ☐ | Is there an accessible path of Travel to a public way? |  |  | ☐Yes ☐ No If No, describe deficiencies. |  |
| ☐ | Are there stairs, ramps, or elevators, included as part of the egress path |  |  | ☐Yes ☐ No If Yes, are they compliant per current code |  |
| ☐ | Is signage and emergency lighting installed as required per Code |  |  | ☐Yes ☐ No If No, describe deficiencies. |  |

## 2.7 Restroom Requirements

| TBD | Restrooms (Existing) | ☐ Check if this section is NOT applicable |  |  |
| --- | --- | --- | --- | --- |
| ☐ | How many restrooms are required for Starbucks customer and partner use? | # Include Restroom fixture calculation per local jurisdiction |  |  |
| ☐ | How many restrooms are provided for Starbucks Partner use? | # Include Restroom fixture calculation per local jurisdiction |  |  |
| ☐ | Are the existing restrooms handicap accessible? | ☐Yes ☐ No If No, describe. |  |  |
| ☐ | Are common restrooms available onsite? | ☐Yes ☐ No |  |  |
| ☐ | What is the distance path of travel to common restrooms? | ft/m; show on plan if applicable | Hours of Operation |  |
| ☐ | Are Unisex Restrooms provided? | ☐Yes ☐ No | Are they allowed? | ☐Yes ☐ No |
| ☐ | Does the building have a water use reduction plan? | ☐Yes ☐ No If Yes, Describe. |  |  |

## 2.8 Health Code Requirements

| TBD | Health Code | ☐ Check if this section is NOT applicable |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Is a menu required as part of the permit Submittal? | ☐Yes ☐ No |  |  |  |
| ☐ | Is a 3-compartment sink required? | ☐Yes ☐ No | What size drain board is required |  | inches |
| ☐ | Is a hot-water Sanitizing Dishwasher required? | ☐Yes ☐ No If Yes, note type required. |  |  |  |
| ☐ | Is a garbage disposal required? | ☐Yes ☐ No |  |  |  |
| ☐ | Are kitchen equipment cut sheets required at permit submission? | ☐Yes ☐ No |  |  |  |
| ☐ | Are special ceiling/wall/floor/casework finishes required? | Cafe Area / FOH: ☐Yes ☐ No Describe |  | Prep Area / BOH: ☐Yes ☐ No Describe |  |
| ☐ | Are special Lighting fixtures required above food prep areas? | ☐Yes ☐ No Describe |  |  |  |
| ☐ | Are special base of wall details required? | Cafe Area / FOH: ☐Yes ☐ No Prep Area / BOH: ☐Yes ☐ No |  |  |  |
|  |  | Describe: Cove base requirement, Top set vs flush w/ floor tile, etc.? |  |  |  |
| ☐ | Case work Base Requirement | ☐Box Base ☐ 6 inch Legs |  |  |  |
| ☐ | Are sneeze guards required? | ☐Yes ☐ No Height. If yes are they required @ nitro font |  |  |  |
| ☐ | What are the local hand sinks requirements? | Describe |  |  |  |
| ☐ | Are there remote storage Requirements? | ☐Yes ☐ No If yes Describe |  |  |  |
| ☐ | Does the AHJ have an approved list of plumbing fixtures? | If yes Describe and attach exhibit to this survey |  |  |  |
| ☐ | Are we required to install a grease interceptor? | ☐Yes ☐ No If Yes, Describe fixture tie-in Requirements Sizing Requirements Preferred Location Exterior Interior |  |  |  |
|  | If yes is there a process for submitting a variance? | Describe variance process and timeline for approval |  |  |  |
| ☐ | Describe any other special requirements. | Describe |  |  |  |

## 2.9 General Accessibility Requirements

| TBD | General Accessibility | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Is the Front Counter accessible? | ☐Yes ☐ No If No, describe deficiencies. |
| ☐ | Identify the path of travel from accessible parking to accessible store entrance | Describe; show on plan if applicable. |
| ☐ | What is the handicapped accessible seating requirement? | Describe |
| ☐ | Is outdoor seating accessible | ☐Yes ☐ No If No, describe deficiencies. |
| ☐ | Are there any existing/proposed grade changes that require ramps? | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Is a lift an acceptable alternative to a ramp? | ☐Yes ☐ No |
|  | Describe any special requirements | Describe |

## 2.10 Seating

| TBD | Indoor Seating | ☐ Check if this section is NOT applicable |  |  |
| --- | --- | --- | --- | --- |
| ☐ | Is there existing seating? | ☐Yes ☐ No | How many seats | # |
| ☐ | What types and style? | Fixed-nonfixed, cushions, height, footrail, backs. |  |  |
| ☐ | Are the number of seats restricted? | ☐Yes ☐ No If Yes, describe the total number of seats allowed and how that number is determined |  |  |
| ☐ | Are stand-up counters to be included in the seating calculations? | ☐Yes ☐ No |  |  |

| TBD | Outdoor Seating | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Is outdoor seating allowed? | ☐Yes ☐ No If No, Describe |
| ☐ | Is a permit required for outdoor seating? | ☐Yes ☐ No If Yes, list requirements |
| ☐ | Maximum seating area permitted | sqft/m2 |
| ☐ | Maximum number of seats permitted | # (based on area and occupant density) |
| ☐ | Is an enclosure required? | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Is the outdoor seating area calculated as part of the restroom calculation? | ☐Yes ☐ No |
| ☐ | Does the L.L have required specifications? | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Does the landlord have furniture restrictions or requirements (including umbrellas or furniture storage)? | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Is parking available for expanded seating | ☐Yes ☐ No If No, Describe. |

# 3. ZONING & SITE INFORMATION

## 3.1 General Evaluation - NA

## 3.2 Easements - NA

## 3.3 Land Division - NA

## 3.4 General Zoning and Use Requirements

| TBD | Zoning and Use Requirements | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Property Zone |  | Describe |

## 3.5 Environmental - NA

## 3.6 Storm Water - NA

## 3.7 Site Signage Requirements

| TBD | Signage - External Signs |  |  | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Are Illuminated Sign permissible? |  |  | ☐Yes ☐ No If no describe |  |
| ☐ | Are there any signage restrictions? |  |  | ☐Yes ☐ No If Yes, Describe. |  |
|  | Elevation | Is there existing signage? | If Yes, identify type of signage. |  | Signage Allowance per Code? |
| ☐ | North | ☐Yes ☐ No ☐ NA | blade, pylon, etc., illuminated or non-illuminated LED, neon, florescent, etc. |  | Describe |
| ☐ | South | ☐Yes ☐ No ☐ NA | blade, pylon, etc., illuminated or non-illuminated LED, neon, florescent, etc. |  | Describe |
| ☐ | East | ☐Yes ☐ No ☐ NA | blade, pylon, etc., illuminated or non-illuminated LED, neon, florescent, etc. |  | Describe |
| ☐ | West | ☐Yes ☐ No ☐ NA | blade, pylon, etc., illuminated or non-illuminated LED, neon, florescent, etc. |  | Describe |
| ☐ | What is the maximum number of signs allowed by type? |  |  | Describe quantity and type |  |
| ☐ | What is the maximum area/size of building signage allowed? |  |  | sqft/m2 |  |
| ☐ | Is there a height of sign restriction in place and what are the location parameters (height, projection, clearance, etc.)? |  |  | ☐Yes ☐ No If Yes, Describe. |  |

| TBD | Awning | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Are there existing awnings? | ☐Yes ☐ No If Yes, describe type and condition |
| ☐ | What is the maximum number of awnings allowed? | # |
| ☐ | What is the maximum area of awnings, clearance from grade, projection from building allowed? | Max. area: sqft/m2 Min. clearance: ft/m Max. projection: ft/m |
| ☐ | Are Logos and Lettering allowed on the awnings? | ☐Yes ☐ No If Yes, do they count towards total allowed signage area |
| ☐ | Will awnings (without graphics) require a sign permit? | ☐Yes ☐ No If Yes, note in Permits |

## 3.8 Building Setbacks and Height Restrictions - NA

## 3.9 Landscaping - NA

## 3.10 Parking

| TBD | Parking | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Is there existing parking? | ☐Yes ☐ No If Yes, describe type, # of stalls, and # accessible |
| ☐ | What is the formula for calculating the number of required parking stalls? | Describe |
| ☐ | Will a variance be required to achieve parking count based on the new plan? | ☐Yes ☐ No If Yes, describe process for approval |

## 3.11 Drive-Thru Site Requirements

| TBD | Drive-Thru Site Requirements | ☐ Check if this section is NOT applicable |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Is there an existing drive thru onsite? | ☐Yes ☐ No Free Standing / End Cap |  |  |  |
| ☐ | Are there local queuing requirements for the Drive-Thru lane? | ☐Yes ☐ No If Yes, define the formula for calculation |  |  |  |
| ☐ | Does the Drive Thru (DT) accommodate a 4 to 5 car stack? | ☐Yes ☐ No (at least 80ft/2438cm from the center of the DT window to speaker post) |  |  |  |
| ☐ | Existing Drive-Thru (DT): what is the drive aisle turn radius. | ft/m |  |  |  |
| ☐ | Existing Drive-Thru (DT): Are there sufficient visual warnings and physical separations at crosswalks in vehicular lanes? | ☐Yes ☐ No If No, Describe. |  | height of the canopy? | ft/m |
| ☐ | Are there any restrictions on the menu board installation? |  | ☐Yes ☐ No If Yes, Describe. |  |  |  |
| ☐ | Is there an existing preview board? | ☐Yes ☐ No (Confirm: One car length (18’-0”) behind order point) |  |  |  |
| ☐ | What material is drive through pavement? Note: DT lanes other than asphalt or concrete pavement will require alternate solutions for sensor loops | ☐Asphalt ☐ Concrete |  |  |  |

## 3.12 Deliveries - NA

3.13 Site Amenities

| TBD | Site Amenities | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Is there an outdoor patio? | ☐Yes ☐ No If Yes, (size, location, material) |
| ☐ | Are there physical separations for patios, sidewalks, etc. from vehicular areas? | ☐Yes ☐ No If Yes, describe separation type and extent |

# 4. UTILITIES

## 4.1 HVAC

| TBD | General HVAC Information | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is there an existing HVAC system? |  | ☐Yes ☐ No |
| ☐ | Who maintains existing system? |  | Identify |
| ☐ | Is the Tenant system part of a larger central system? |  | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Type of System (Split, CAV, VAV) |  | Split, CAV, VAV, etc. |
| ☐ | Age/Condition of System |  | Years, describe. |
| ☐ | Is a balancing report available? |  | ☐Yes ☐ No If Yes, attach as Reference. |
| ☐ | Are there equipment screening requirements? |  | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Main supply duct or pipe size |  | size and height A.F.F. Insulation ☐Yes ☐ No |
| ☐ | CFM available/static pressure |  | CFM |
| ☐ | Total CFM outdoor air available |  | CFM |
| ☐ | Is there a plenum |  | ☐Yes ☐ No Height - BO plenum to BO structure |
| ☐ | Is replacement, relocations or upgrade recommended? |  | ☐Yes ☐ No Describe either |
| ☐ | Is noise abatement required? |  | ☐Yes ☐ No |

| TBD | Cooling Unit (Locate on Dwgs)* | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is there an existing system |  | ☐Yes ☐ No |
| ☐ | Type of system |  | Chiller, Heat pump, Condenser |
| ☐ | Location |  | Describe |
| ☐ | Manufacturer/Model No |  | Describe |
| ☐ | Physical size (WxHxD) |  | ft/m |
| ☐ | Distance from Tenant space |  | ft/m |

| TBD | Existing Unit “A” (Locate on drawings)* |  |  |  | ☐ Check if this section is NOT applicable |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ☐ | Type (fan coil, VAV, etc.)) |  |  |  |  | Describe |  |  |  |  |
| ☐ | Type (packaged rooftop, split system, heat pump) |  |  |  |  | Describe |  |  |  |  |
| ☐ | Manufacturer/Model No |  |  |  |  | Describe |  |  |  |  |
| ☐ | Physical size (WxHxD) |  |  |  |  | ft/m |  |  |  |  |
| ☐ | Voltage | volts | Amps | amps |  |  | Phase | # | Source | Electric-fired, gas-fired |
| ☐ | Heating capacity |  |  |  |  | BTU |  | Cooling capacity |  | Tons |
| ☐ | Energy Star |  |  |  |  | ☐Yes ☐ No |  |  |  |  |
| ☐ | SEER/EER/IPLV |  |  |  |  | Describe |  |  |  |  |
| ☐ | Economizer |  |  |  |  | ☐Yes ☐ No |  |  |  |  |
| ☐ | Refrigerant Type |  |  |  |  | Describe |  |  |  |  |
| ☐ | Age/Condition of units |  |  |  |  | Years, Describe |  |  |  |  |
| ☐ | Control/Thermostat |  |  |  |  | ☐Yes ☐ No If Yes, describe type and location. |  |  |  |  |
| ☐ | Is replacement or upgrade recommended? |  |  |  |  | ☐Yes ☐ No Describe either |  |  |  |  |

*Note: If more than one unit exists, add additional tables and describe

| TBD | Fresh Air Intake (Locate on drawings) | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Size of louver |  | ft/m |
| ☐ | Proximity of intake to: |  | Bldg. exhaust ft/m Bldg. Opening ft/m Trash enclosure ft/m |
| ☐ | Is the site open to an enclosed area that allows smoking? |  | ☐Yes ☐ No If yes Distance from door/window/louver opening |

| TBD | Restroom Exhaust (Locate on drawings) | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is the R.R. exhaust part of a larger central system? |  | ☐Yes ☐ No Describe |
| ☐ | Existing fan type |  | blade, cage, |
| ☐ | Fan location |  | Roof top, inline, ceiling |
| ☐ | Sconce rating |  |  |
| ☐ | Manufacturer/Model No. |  | Describe |
| ☐ | Exhaust Volume |  | CFM |
| ☐ | Where does exhaust terminate? |  | Describe |
| ☐ | Is current installation code compliant? |  | ☐Yes ☐ No If No, describe |

| TBD | Water Heater | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is there an existing water heater in the space? |  | ☐ Yes ☐ No Describe location and support |
| ☐ | Is there an existing hot water heater |  | ☐Yes ☐ No If no: Provide separate water heater to Starbucks space or building hot water supply will meet Starbucks requirements. |
| ☐ | Manufacturer/Model No. |  | Describe |
| ☐ | Size |  | Gallons |
| ☐ | Age |  | Years |
| ☐ | Source of power |  | Electric-fired, Gas-fired If gas: size of line and pressure |
| ☐ | kW/h |  | kW |
| ☐ | Heating Capacity |  | BTU/hr |
| ☐ | Exhaust vent |  | ☐Yes ☐ No Direct Vent, Atmospheric, Power vent |
| ☐ | Locate Exhaust vent termination |  | Describe location |
| ☐ | Does existing heater need to be relocated / replaced? |  | ☐Yes ☐ No If yes: Gas/Electric, What Size? |
| ☐ | Does it service other tenants? |  | ☐Yes ☐ No |

## 4.2 Electrical Service

| TBD | Electrical Service (Existing) | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is a 120-208V, 3-phase, 4 wire, and 400 amp service available? (This is the min. service Req.) |  | ☐Yes ☐ No If No, describe the available service |
| ☐ | Location of existing primary service line? |  | Describe and show on drawings |
| ☐ | Where are the meter and shut off located? |  | Describe, Mounting Hgt., Bollard Requirement |
| ☐ | Are the electrical panels provided within Starbucks space or remoted |  | ☐Yes ☐ No locate on drawings If remote, can these panels be relocated |

|  | Electrical Service (New) | ☒ Check if this section is NOT applicable |
| --- | --- | --- |

| TBD | Electrical Service (Upgrade) |  | ☐ Check if this section is NOT applicable |
| --- | --- | --- | --- |
| ☐ | Estimate the time required for a service upgrade | days/weeks |  |
| ☐ | Who is responsible for the upgrade cost? | Identify |  |
| ☐ | Is a transformer required? | ☐Yes ☐ No If Yes, recommend size (kW) |  |
| ☐ | What is the total amount of power available to the Bldg.? | Amps |  |
| ☐ | Are there any code violations that need correction? | ☐Yes ☐ No If Yes, Describe |  |

| TBD | Electrical Bldg. | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Existing meter number |  | Serial Number |
| ☐ | Does the meter supply Starbucks site only? |  | ☐Yes ☐ No |
| ☐ | Dist. from meter to Panel |  | ft/m |
| ☐ | Dist. from Panel to Transformer |  | ft/m |
| ☐ | Transformer Mounting Type |  | Suspended, Wall hung, floor mount |
| ☐ | Transformer - Primary |  | Volt, amps |
| ☐ | Transformer - Secondary |  | Volt, amps |
| ☐ | Existing Electrical Panel |  | Describe location, number of circuits available, show on drawings |
| ☐ | Recommendations for service and panel if relocation necessary |  | Describe |
| ☐ | Is there sufficient clearance/ separation around electrical equipment? |  | ☐Yes ☐ No If No, describe. |
| ☐ | Describe the HVAC disconnects |  | Describe |

## 4.3 Water Service

Note:  1 1/2” (25.4mm) line 50-60 PSI standard.

| TBD | Water Service | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is this service shared with other tenants? |  | ☐Yes ☐ No |
| ☐ | Size of existing main and location Does the main need to be upgraded |  | Diameter in/mm ☐Yes ☐ No Describe and show on drawings |
| ☐ | Water meter number |  | Describe |
| ☐ | What is the dynamic water pressure? |  | PSI/GPM |

## 4.4 Water Test

Note:  Refer to the Instructions document regarding the process for obtaining a test kit prior to site visit.

| TBD | Water Test | ☒ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Was a water sample gathered and submitted per Instructions? |  | ☐Yes ☐ No If Yes, note date submitted and name of lab; if No, note reason |
| ☐ | What is the water temperature? |  | Degree Celsius or Fehrenheit |

## 4.5 Sanitary Sewer Service

| TBD | Sanitary Sewer Service | ☐ Check if this section is NOT applicable |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Is sanitary sewer available? |  |  | ☐Yes ☐ No Public/Private |  |
| ☐ | What is the existing service size? |  |  | Diameter in/mm Locate on Drawing |  |
| ☐ | Is there an existing septic tank? |  |  | ☐Yes ☐ No Size: Gallons/Liters If Yes, describe location and show on drawings |  |
| ☐ | Is Scoping of Line Recommended? |  |  | ☐Yes ☐ No |  |
| Grease Interceptors - For this section please review Starbucks FOG Guidelines located on the SDRC. Link - For FOG Due Diligence on Company Owned and License Stores Starbucks has partnered with Schier Products. - The jurisdictional requirements for your project have been uploaded to the attached spread sheet for review. Link - Add the appropriate information to the section below and attach the preapproved calculations. |  |  |  |  |  |
| ☐ | Is a Grease Interceptor required? |  | ☐Yes ☐ No |  |  |
| ☐ | If an Interceptor is required Describe: |  | Type: GGI / HGI Dimensions: Dimensions Size: Liquid Capacity Requirement- Gallons/Liters Flow Rate: Flow Rate Requirements |  |  |
| ☐ | What accessories are required? |  | List Accessories: Riser, Remote pump-out, Anchor Kits, Support Kits, Clamping Collars, etc. |  |  |
| ☐ | What Fixtures are required to be plumbed through the interceptor? |  | List Fixtures: 3 comp, Mop Sink, Floor Sinks, Rinse Sinks, Dishwasher, etc. |  |  |
| ☐ | Is there an existing grease interceptor? |  | ☐Yes ☐ No |  |  |
| ☐ | If there’s an existing interceptor Describe: |  | Type: GGI / HGI Dimensions: Dimensions Size: Liquid Capacity Requirement- Gallons/Liters Location: Describe location and show on drawings Size of lateral Diameter in/mm |  |  |
| ☐ | What existing fixtures are plumbed through the interceptor? |  | List Fixtures: 3 comp, Mop Sink, Floor Sinks, Rinse Sinks, Dishwasher, etc. |  |  |
| ☐ | GI Servicing Requirements |  | Who is responsible for servicing? |  | Frequency of Service? |
| ☐ | What are requirements for FOG submittal? |  | describe plan requirements for submittal |  |  |
| ☐ | What are the requirements for a Variance Request? |  | Describe variance request requirements here Describe process and schedule here |  |  |

| Department | Name, Title | Address, City, State, Zip, County | Phone, Fax, E-mail, website |
| --- | --- | --- | --- |
| Sewer |  |  | Ph: Email: Website: |

Please attach the Grease Interceptor Calculation Report for your project in the space provided below.

You can download the specific report for your project following the attached link.  Link

Starbucks Grease Interceptor Calculation

## 4.6 Cable Service

| TBD | Telephone / Data Service | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
|  | Please leverage the FCC’s free Broadband mapping tools to help assess connectivity speed and prospective providers for your site. For more information please reference Site Internet & Voice Systems SDRC Page and either the FCC Broadband Map or the Canada Broadband Map |  |  |
| ☐ | Is there existing service on site? |  | ☐Yes ☐ No |
| If NO |  |  |  |
| ☐ | Locate closest off-site cable/fiber drop. |  | Describe location and show on drawings? Is the location on the opposite side of the street? Estimate lin. ft. distance to Tenants space Is service located underground or overhead? |
| ☐ | What types of service is available? Note: Starbucks Standard is 50x10 Fiber optic or Cable [DSL in not acceptable.] |  | Describe Service Type Providers Available Connection Speeds |
| ☐ | Has the owner engaged with a local telco company to determine connectivity to the site? |  | ☐Yes ☐ No If yes; what company and type of service (ex. broadband Fiber optic etc.) |
| ☐ | Is the owner willing to work with Tenant service providers to ensure connectivity? |  | ☐Yes ☐ No |
| ☐ | Are there any restriction to the site which would limit telco connectivity? |  | Example: Site is in an under developed location, building is historic, wire managed, or union controlled, site environmental issues?) |
| If Yes |  |  |  |
| ☐ | Are location of existing phone and internet service lines (overhead or underground) |  | ☐Overhead ☐ Underground Describe and locate on drawings If underground what is the conduit size? Estimate lin. ft. distance to Tenants space |
| ☐ | What type of service is provided |  | Describe service type, provider, and connection speed |
| ☐ | Is there an exist. Telco pedestal or vault on site? |  | ☐Yes ☐ No If yes describe and locate on site plan |
| ☐ | Has the owner restricted access to any internet providers? Does the owner have an exclusive agreement with any internet provider? |  | ☐Yes ☐ No If yes which providers are restricted? If yes which providers are exclusive? |
| ☐ | Is there an established telephone demarcation point in the Tenants Space? |  | ☐Yes ☐ No Describe location, size, show on drawings |
| ☐ | Is there power within 10’ of the demarc? |  | ☐Yes ☐ No |
| ☐ | Is there wireless cellular signal (Verizon or AT&T) |  | ☐Yes ☐ No If yes what is the signal strength? |
| ☐ | Are there Minimum (2) conduits in place for internet and telephone services? |  | Confirm conduit size. Preference is 4”. |

## 4.7 Gas Service

| TBD | Gas Service | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is natural gas available on site? |  | ☐Yes ☐ No |
| ☐ | Is there an (e) meter on-site |  | ☐Yes ☐ No Diameter in/mm Pressure |
| ☐ | Location of existing stub |  | Describe and show on drawings ☐ Roof Top ☐ Inside space |
| ☐ | Size of existing gas line |  | Diameter in/mm Pressure |

## 4.8 Solid Waste and Recycling Services

| TBD | Solid Waste |  | ☐ Check if this section is NOT applicable |
| --- | --- | --- | --- |
| ☐ | Are there solid waste services? | ☐Yes ☐ No If Yes, describe location |  |
| ☐ | Is a dumpster provided? | ☐Yes ☐ No size |  |
| ☐ | Is a dumpster enclosure provided? | ☐Yes ☐ No size |  |
| ☐ | Are there drainage requirements? | ☐Yes ☐ No If Yes, Describe. |  |
| ☐ | Is an internal trash room provided? | ☐Yes ☐ No Are there finish requirements |  |

| TBD | Recycling Service | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Are there existing recycling services? |  | ☐Yes ☐ No If yes describe |
| ☐ | Is a recycle bin provided? |  | ☐Yes ☐ No size |
| ☐ | Does the building have an existing internal recyclable sorting area? |  | ☐Yes ☐ No |
| ☐ | What waste streams are available to be recycled? |  | Describe materials - glass, cardboard, etc |

## 4.9 Fire Sprinkler

| TBD | Fire Requirements (Site) | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
|  | Fire Requirements (Building) |  |
| ☐ | Is there (e) sprinkler service to our space? | ☐Yes ☐ No If yes Locate on Plan, Size (inch) & (psi) |
| ☐ | Does the building require sprinklers? | ☐Yes ☐ No |
| ☐ | Will the (e) system need to be modified? | ☐Yes ☐ No If yes outline modifications |
| ☐ | Describe permitting for sprinkler system? | ☐w/ Building Submittal ☐ Deferred requirements |
| ☐ | Is an enunciator required? | ☐Yes ☐ No |
|  | Fire Requirements (Alarm) |  |
| ☐ | Is a fire alarm panel required? | ☐Yes ☐ No |
| ☐ | Is there an existing fire alarm system? | ☐Yes ☐ No If Yes, Describe. |

## 4.10 Other Requirements

| TBD | Other Requirements |  | ☐ Check if this section is NOT applicable |
| --- | --- | --- | --- |
| ☐ | Do any MEP utilities requiring access through adjacent tenant space? | ☐Yes ☐ No If Yes, Describe. |  |
|  | Other |  |  |

# 5. BUILDING INFORMATION

## 5.1 General information

| TBD | General Evaluation | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Interior Condition | Describe |
| ☐ | Exterior Condition | Describe |
| ☐ | Are there tenants above / below space? | ☐Yes ☐ No If Yes, Identify. |
| ☐ | Tenants adjacent to space? | ☐Yes ☐ No If Yes, Identify. |
| ☐ | Is building LEED Certified? (LEED) | ☐Yes ☐ No If Yes, identify level |
| ☐ | Building hours of operation | Days & Hours |

## 5.2 Storefront & Windows

| TBD | Storefront & Windows * | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Assemblies | Height & Width Header height A.F.F |
| ☐ | Location | Describe and show on drawings |
| ☐ | Finishes / Color | Describe |
| ☐ | Single or double glazed | Describe U-Value |
| ☐ | Tinted glaze | Describe VLT Value |
| ☐ | Awning / Shading | ☐ Yes ☐ No Describe |
| ☐ | Vestibule | ☐Yes ☐ No Length/Width/Height |

* Note: If more than one unit exists, add additional tables as appropriate

5.3 Exterior Doors and Frames

| TBD | Exterior Doors and Frames * | ☐ Check if this section is NOT applicable |  |  |
| --- | --- | --- | --- | --- |
| ☐ | Assemblies | Height & Width | Fire Rated | ☐ Yes ☐ No Hr |
| ☐ | Single or double glazed | Describe U-Value |  |  |
| ☐ | Condition | Describe |  |  |
| ☐ | Threshold Condition | Describe |  |  |
| ☐ | Existing Hardware | Describe |  |  |
| ☐ | Are doors ADA compliant? | ☐Yes ☐ No If No, Describe |  |  |
| ☐ | Awning / Shading | ☐Yes ☐ No Describe |  |  |

* Note: If more than one unit exists, add additional tables as appropriate

## 5.4 Building Exterior

| TBD | Exterior Walls | ☐ Check if this section is NOT applicable |  |  |
| --- | --- | --- | --- | --- |
| ☐ | Construction Type | Describe |  |  |
| ☐ | Condition | Describe |  |  |
| ☐ | U-Value | # Describe |  |  |
| ☐ | Fire Rating | ☐Yes ☐ No Hours UL Listing |  |  |
| ☐ | North | Finish: Describe | Material: Describe | Thickness: Describe |
|  |  | Height: Describe | Lighting: Describe | Other: Describe |
| ☐ | South | Finish: Describe | Material: Describe | Thickness: Describe |
|  |  | Height: Describe | Lighting: Describe | Other: Describe |
| ☐ | East | Finish: Describe | Material: Describe | Thickness: Describe |
|  |  | Height: Describe | Lighting: Describe | Other: Describe |
| ☐ | West | Finish: Describe | Material: Describe | Thickness: Describe |
|  |  | Height: Describe | Lighting: Describe | Other: Describe |
| ☐ | Is there an awning or roof at Drive Thru window? | ☐ Yes ☐ No If Yes, provide minimum clear height to awning above drive lane, in/mm |  |  |
| ☐ | Are exterior renovation included in scope of work? | ☐Yes ☐ No If Yes, Describe. |  |  |
| ☐ | Is there Existing Building Signage? | ☐Yes ☐ No If Yes, describe, Type, Location, Size |  |  |
|  | Other: | Describe |  |  |

## 5.5 Roof

| TBD | Roof | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Assembly | Describe Construction U-Value |  |
| ☐ | Type of water proofing | TPO/Built-up/EPDM |
| ☐ | Condition of roof | Age of (e) roof: # Describe Issues: Blistering, puddling, cracks, etc. Is a new roof recommended? ☐Yes ☐ No |  |
|  | Structure |  |  |
| ☐ | framing size, type, and spacing | Describe |  |
| ☐ | Are structural modifications recommended/required? | ☐Yes ☐ No If Yes, Describe. |  |
| ☐ | Slope of Roof | Click or tap here to enter text. |  |
|  | Other | Click or tap here to enter text. |  |

## 5.6 Columns

| TBD | Columns | ☐ Check if this section is NOT applicable |  |  |
| --- | --- | --- | --- | --- |
| ☐ | Type / Size | Click or tap here to enter text. | Fire Proofing | ☐Yes ☐ No |
| ☐ | Typical Spacing | Click or tap here to enter text. |  |  |
| ☐ | Furring | ☐Yes ☐ No If Yes, Describe. |  |  |

## 5.7 Demising Walls

| TBD | Demising Walls (Between Tenants) | ☐ Check if this section is NOT applicable |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Assembly | Describe | Fire Rating | Hours UL Listing |  |
| ☐ | Condition | Describe |  |  |  |
| ☐ | Finish Material | Describe | Material Height |  | ft/m |
| ☐ | Utilities? | Describe Utilities through or on wall Are these shared? |  |  |  |
| ☐ | Sound Insulation | ☐Yes ☐ No STC Rating |  |  |  |

## 5.8 Existing Interior Walls

| TBD | Existing Interior Walls | ☐ Check if this section is NOT applicable |  |  |
| --- | --- | --- | --- | --- |
| ☐ | Assembly | Describe Construction | Framing Height | ft/m |
| ☐ | Condition | Describe |  |  |
| ☐ | Finish material | Describe | Material Height | ft/m |
| ☐ | Are there (e) MEP Chases? Do any walls contain (e) utilities? | Stack vents, clean-outs, Electrical Main, Roof Drain, Plumbing Supply Locate on Plan |  |  |
| ☐ | Chases for MEP Systems | Describe |  |  |

## 5.9 Floors

| TBD | Floors | ☐ Check if this section is NOT applicable |  |  |
| --- | --- | --- | --- | --- |
| ☐ | Assembly | Describe Construction | U-Value | # Describe |
| ☐ | Framing Type, Size, and spacing | Describe |  |  |
| ☐ | Fire rating | Hours UL Listing |  |  |
| ☐ | Condition | Describe |  |  |
| ☐ | Is floor level? | ☐Yes ☐ No |  |  |
| ☐ | (e) Finish material | Describe type and extent of finishes |  |  |
| ☐ | Recommend for re-use | ☐Yes ☐ No do not recommend for reuse if low coefficient friction |  |  |
| ☐ | Is existing flooring adequate for installation of new finish tile? | ☐Yes ☐ No If Yes, Describe. |  |  |
| ☐ | Is a walk-off mat provided? | ☐Yes ☐ No If Yes, type, Size, locate on drawings |  |  |
| ☐ | Are structural modifications recommended or required? | ☐Yes ☐ No If Yes, Describe. |  |  |

## 5.10 Ceilings / Soffit

| TBD | Ceilings | ☐ Check if this section is NOT applicable |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Suspended Ceiling | ☐Yes ☐ No Describe Insulation: ☐Yes ☐ No Describe |  | Height AFF | ft/m |
| ☐ | Open to structure | ☐Yes ☐ No Fire Proofing |  |  |  |
| ☐ | Finish Materials | Describe |  |  |  |
| ☐ | Soffits / Hardlid | ☐Yes ☐ No Location |  | Height AFF | ft/m |
| ☐ | Finish Materials | Describe |  |  |  |
| ☐ | Hgt. to Bot. of Structure | ft/m | Hgt. to Bot. of Sprinkler | ft/m ☐ NA |  |
| ☐ | Hgt. to Bot. of Decking | ft/m | Hgt. to Bot. of Roof Leader | ft/m ☐ NA |  |
| ☐ | Hgt. to Bot. of Duct | ft/m | Hgt. to Bot. of Diffuser | ft/m ☐ NA |  |
| ☐ | Overall condition of ceiling | Describe |  |  |  |
| ☐ | Finish above dropped ceiling | Open to structure Condition |  |  |  |
| ☐ | Features worth saving or incorporating into the design | Describe |  |  |  |

## 5.11 Lighting

| TBD | Lighting | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Interior lighting (type, heights, recommendations for reuse) | Describe |
| ☐ | Exterior lighting (type, heights, recommendations for reuse) | Describe |

## 5.12 Stairs

| TBD | Stairs | ☐ Check if this section is NOT applicable |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Construction Type | Describe |  |  |  |
| ☐ | Configuration | Straight, winding, etc. | Handrail type | Describe |  |
| ☐ | Are Stairs part of Egress Route? Do they access a mezzanine? | ☐Yes ☐ No ☐Yes ☐ No | Railing / Guardrail |  | height in/mm |
| ☐ |  |  | Handrail extensions |  | in/mm |
| ☐ | Stair Width | in/mm | Height |  | in/mm |
| ☐ | Rise/Run | in/mm | Tread Material |  | Describe |
| ☐ | Number of landings | # Describe | Landing Clearance |  | WxL |
| ☐ | Are the stairs code-compliant? | ☐Yes ☐ No If No, Describe. |  |  |  |

## 5.13 Restrooms

| TBD | Restrooms | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Configuration | Describe |  |
| ☐ | Fixtures/Hardware | Mens | Womens |
| ☐ | Lavatory Toilet/Urinal Partitions | Quantity/Type/Flow Rate/Finish Quantity/Type/Flow Rate/Finish Mounting Type/Finish | Quantity/Type/Flow Rate/Finish Quantity/Type/Flow Rate/Finish Mounting Type/Finish |
| ☐ | Fixtures Condition | Describe Recommend reuse? ☐Yes ☐ No |  |
| ☐ | Are Fixtures compliant w/ ADA standards | ☐Yes ☐ No If No, Describe. |  |
| ☐ | Restroom finishes | Type? Material Height? Recommend Re-use? |  |
| ☐ | Restroom Accessories | Type? Mounting Height? Recommend Re-use? |  |
| ☐ | Restroom Ceiling | Type? Height? Recommend Re-use? Sound insulation? |  |

## 5.14 Security

| TBD | Security | ☐ Check if this section is NOT applicable |
| --- | --- | --- |
| ☐ | Is there an existing security system? | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Is the system part of a larger system | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Security Sensors: | Identify glass breaks, IR sensors, Motion sensors, etc. |
| ☐ | Is there security lighting at the building exterior? | ☐Yes ☐ No If Yes, Describe. |
| ☐ | Are there security grills or gates at building openings? | ☐Yes ☐ No If Yes, Describe Condition. |

# 6. FACILITY/JOB SITE MANAGEMENT

## 6.1 CONSTRUCTION

| TBD | Construction Information |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ☐ | Permitted hours to work on premises? |  |  | Morning/Evening/Weekend/Hours |  |
| ☐ | What are delivery procedures during construction? |  |  | Describe |  |
| ☐ | What is the dumpster removal procedure during construction? |  |  | Describe |  |
| ☐ | What are portable toilet restrictions and placement options? |  |  | Describe |  |
| ☐ | What potential weather-related issues may affect construction and how? |  |  | Describe |  |
| ☐ | Are there any application or landlord-related criteria affecting construction? |  |  | ☐Yes ☐ No If Yes, Describe. |  |
| ☐ | Is there a temp café planned at this location | ☐Yes ☐ No Inside / outside | If Yes, describe due diligence required for temp. solutions? |  | Describe |

## 6.2 Other

| TBD | Other | ☐ Check if this section is NOT applicable |  |
| --- | --- | --- | --- |
| ☐ | Is there visible water damage in space? | ☐Yes ☐ No Standing water, existing leaks, rot, cracks, deterioration, etc. |  |
| ☐ | Is there an external storage space available? | ☐Yes ☐ No If Yes, Describe. |  |
| ☐ | Is there any evidence of asbestos being present? | ☐Yes ☐ No If Yes, include in Findings Summary and note the Asbestos Control Program (ACP) report (if completed) in References |  |
| ☐ | Is there a fireplace? | ☐Yes ☐ No If Yes, describe and note if a screen is provided |  |
| ☐ | Is there an existing ice machine? Condenser Type? | ☐Yes ☐ No ☐Remote ☐ Internal | If Internal, note clearance of side vent and rear intake |
|  | Additional Information | Describe. |  |