| General Site Information | G |
| --- | --- |
| Project name City, State Street Address Space# Project Name City, State Street Address Space # Describe the area. Are there any trees or other landscape that would affect new underground utilities or any surrounding buildings that may provide significant shade or other problems with new equipment or utilities above or below grade? Click or tap here to enter text. Type of Building Type of Construction ☐ Strip Center ☐ Freestanding Roof slope? ☐ Multi-Story (# of floors) ☐ Basement  Drive-thru Wall Thickness? Space Info Wall Type? Brick / Block / Wood SQ. feet (approx.) Glass Size? Age (approx.) Glass Type? Single Pane / Double Pane / Is Glass Shaded? ☐ No ☐ Yes, % Verify what is above and below space: Are there any factors to prevent possible chases, routes to roof, any areas below floor to avoid electrical vaults, structural slab that might limit penetrations. Any roof drains, pipes or duct hidden in column surrounds. Click or tap here to enter text. Provide a sketch of the roof plan showing RTUs, VTRs, exhaust fans, etc. Show any designated areas reserved for HVAC equipment. Document the North Direction and Surrounding Area - If no site plan, sketch the site and/or building appropriately. Provide sketch locations of: water mains, sewer, storm sewer, gas meters, electric transformers/meters, any HVAC equipment not located on the roof. (use A&A graph paper if desired). Special Conditions Click or tap here to enter text. |  |

Existing Site Information - MECHANICAL	M

Mechanical Equipment / System(s)

System Type: ☐ RTU ☐ Split System   ☐ Chilled Water   ☐ Heat Pump   ☐ Other  	                                              If LL provided system, list operating schedule

Document on a plan the locations of each piece of equipment (incl. thermostats/sensors) & include a sketch of the diffuser layout & ductwork, if visible. Also show any available locations for exhaust, flues, outside air intakes, including proposed chase locations or areas for exterior louvers (wall or soffit).

Indicate any size (and use) of existing louvers.

Clearance

Bottom of Deck

Existing Ceiling Height

Bottom of Structure

Other Main Obstructions

Note or provide a sketch indicating any elements that may impact Duct Height or Routing incl. Structure, Piping, Conduit, etc. Indicate height, location and / or routing on a plan.

| Equipment / System 1 Manufacturer/Model # |  |  | Equipment / System 2 Manufacturer/Model # |  |  |
| --- | --- | --- | --- | --- | --- |
| MCA | MOCP |  | MCA | MOCP |  |
| Voltage | Phase |  | Voltage | Phase |  |
| Gas (Btu or Mbh)/Elec. Heat(Kw) |  |  | Gas (Btu or Mbh)/Elec. Heat(Kw) |  |  |
| Mfg. Date/Age or Visible Cond. |  |  | Mfg. Date/Age or Visible Cond. |  |  |
| Serial # |  |  | Serial # |  |  |
| Main Duct Size at Unit |  |  | Main Duct Size at Unit |  |  |
| Return Air Ducted or Plenum |  |  | Return Air Ducted or Plenum |  |  |
| Outside Air Intake Location |  |  | Outside Air Intake Location |  |  |
| Equipment / System 3 Manufacturer/Model # |  |  | Equipment / System 4 Manufacturer/Model # |  |  |
| MCA | MOCP |  | MCA | MOCP |  |
| Voltage | Phase |  | Voltage | Phase |  |
| Gas (Btu or Mbh)/Elec. Heat(Kw) |  |  | Gas (Btu or Mbh)/Elec. Heat(Kw) |  |  |
| Mfg. Date/Age or Visible Cond. |  |  | Mfg. Date/Age or Visible Cond. |  |  |
| Serial # |  |  | Serial # |  |  |
| Main Duct Size at Unit |  |  | Main Duct Size at Unit |  |  |
| Return Air Ducted or Plenum |  |  | Return Air Ducted or Plenum |  |  |
| Outside Air Intake Location |  |  | Outside Air Intake Location |  |  |
| Special Conditions |  |  |  |  |  |

e.g. - Other equipment that might remain and / or be reused, such as ventilation hoods, toilet room exhast(s), unit or wall heaters,

building ductwork, other exhaust systems, etc. Please provide nameplate information (if accessible) of any equipment & document location, duct routing, etc. on a plan.

Click or tap here to enter text.

| Existing Site Information - PLUMBING | P |
| --- | --- |
| Where accessible, please document on a plan the locations & sizes of all exterior manholes, shut-off valves, hose bibbs, incoming services, meters, & related equipment. Domestic Water Domestic Water Service Size Domestic Water Meter Size Domestic Water Pressure Domestic Water Meter # Location of Water Main: ☐ See Plan, or Describe Water Company, if indicated: Backflow Preventer ☐ No ☐ Yes, Size Water Heater(s) Manufacturer Model # Gas Input (btu or mbh) or Electric Size (kw) (Indicate water heater flue size & routing to building exterior on plan, if accessible) Recirc. Pump: ☐ No ☐ Yes, Model Capacity (Gal.) Natural Gas Natural Gas Service: ☐ Building ☐ Tenant Natural Gas Service Pressure Natural Gas Service Size (pipe size downstream of meter) Location of Natural Gas Ma Natural Gas Meter # (see location of water main above) Distance to Natural Gas Meter Name of Natural Gas Co., if indicated PRV location Sanitary Sewer & Storm / Roof Drainage Sanitary sewer piping is rarely visible, however documenting existing plumbing fixtures, floor drains, hub drains, floor sinks, clean-outs (floor & wall), & riser (or "stack") locations on a plan will help us determine existing piping locations. Manholes located outside the building can help us determine Sanitary & Storm Sewer pipe routing. Type of Storm / Roof Drainage (e.g. - roof drains with "interior" piping, gutters, scuppers, etc. Please indicate location and size of drainage components on a plan.) Grease Trap ☐ Interior ☐ Exterior ☐ Both ☐ None ☐ Surface ☐ Recess Mounted ☐ Vented Is the grease trap shared with other tenants? ☐ No ☐ Yes Document any markings on the grease trap or it's cover Special Conditions Click or tap here to enter text. |  |

| Existing Site Information - ELECTRICAL | E |
| --- | --- |
| Electrical Service Entrance Existing Main Voltage: ☐ 208 ☐ 240 ☐ 480 Phase: ☐ 1 ☐ 3 Service Amps Service Origin: ☐ LL Elec. Room ☐ Utility (circle: Overhead or Underground) ☐ Other Distance from Space to Service Origin Main Disconnect or Circuit Breaker Size: For Space For Bldg Feeder Conduit Size(s) AIC Rating? Document location of Utility Co. transformer on a site plan or give distance from space and direction. Document Utility Company Transformer Info: Click or tap here to enter text. Document Space Transformer Tag Info: [Size (capacity) / Voltage] Is Transformer? ☐ Floor Mounted ☐ Suspended ☐ Platform Mounted ☐ Other Condition of transformer? Is there a main meterbank? ☐ No ☐ Yes Space or Building Meter # Describe Available Space at Service Equipment (i.e. empty meter sockets, spare switches, spaces in distribution panels, etc.) Click or tap here to enter text. Document location of all space equipment on a plan and draw a complete 1-line diagram. Is there any space in the electrical room for additional equipment? Take pictures of all equipment and overall pictures showing any unused space. Include any other markings or nameplates available Electrical Equipment e.g. - Circuit panels, disconnect switches, wire-ways, "secondary" transformers (owned by the tenant & typically located inside the space) etc. Please document the location of each piece of equipment on a plan (include conduit routing to & from where possible) & any nameplate data available. Nameplates are typically located on the front of, or inside the access doors of the equipment. Whenever possible, document circuit use (if labeled) & breaker sizes of existing panels. Please use the attached "Panel Schedule Survey" form to document panel characteristics & circuit information. Close-up pictures of nameplates & panel schedules are rarely of sufficient quality to be useful. Click or tap here to enter text. Special Conditions Click or tap here to enter text. |  |

| Existing Site Information - FIRE PROTECTION | FP |
| --- | --- |
| Sprinkler Is the Space sprinklered? ☐ No ☐ Yes Sprinkler Service Size Location Height of Main Line above Floor LL Sprinkler Room? ☐ No ☐ Yes, Distance from space Is there a flow switch? ☐ No ☐ Yes Is there a tamper switch? ☐ No ☐ Yes, Location Fire Alarm Does the space have an alarm system? ☐ No ☐ Yes ☐ LL System ☐ Tenant System Fire Alarm Panel? ☐ No ☐ Yes, Location: Document any information on the Fire Alarm Panel Does Tenant System connect to: LL System? ☐ No ☐ Yes Fire Dept. (phone line)? ☐ No ☐ Yes Type(s) of devices in Space. Check all that apply and note or document locations of all devices on a plan: ☐ Pull Switch ☐ Visual ☐ A/V ☐ Audio ☐ Smoke Detector ☐ Duct Smoke Detector ☐ Ansul System ☐ Flow Switch ☐ Tamper Switch ☐ Heat Detector ☐ Remote Annuciator ☐ Elevator Recall ☐ Other Is there a knox box? ☐ No ☐ Yes, Location Indicator Signals for HVAC? ☐ No ☐ Yes, Location Special Conditions Click or tap here to enter text. |  |

Panel Schedule Survey 1     	PS

Panel Name / Designation:

Manufacturer:  		Model #:

Condition: ☐ Good ☐ Fair ☐ Poor		Mounting: ☐ Surface ☐ Recessed ☐ Semi-Recessed Amperage:

Voltage: ☐ 120/208   ☐ 120/240   ☐ 277/480   ☐ Other:  		Phase: ☐ 1 ☐ 3

Main Circuit Breaker: ☐ No   ☐ Yes, Size   	 amps	AIC Rating

List all Circuit Use as they are listed on panel, including spares & spaces. Note amperage and # of poles for each breaker.

Circuit Use / Area Served

Breaker

Breaker

Circuit Use / Area Served

| 1 |  |
| --- | --- |
| 3 |  |
| 5 |  |
| 7 |  |
| 9 |  |
| 11 |  |
| 13 |  |
| 15 |  |
| 17 |  |
| 19 |  |
| 21 |  |
| 23 |  |
| 25 |  |
| 27 |  |
| 29 |  |
| 31 |  |
| 33 |  |
| 35 |  |
| 37 |  |
| 39 |  |
| 41 |  |

|  | 2 |
| --- | --- |
|  | 4 |
|  | 6 |
|  | 8 |
|  | 10 |
|  | 12 |
|  | 14 |
|  | 16 |
|  | 18 |
|  | 20 |
|  | 22 |
|  | 24 |
|  | 26 |
|  | 28 |
|  | 30 |
|  | 32 |
|  | 34 |
|  | 36 |
|  | 38 |
|  | 40 |
|  | 42 |

Panel Schedule Survey 2     ☐ Check if this section is not applicable	PS

Panel Name / Designation:

Manufacturer:  		Model #:

Condition: ☐ Good ☐ Fair ☐ Poor		Mounting: ☐ Surface ☐ Recessed ☐ Semi-Recessed Amperage:

Voltage: ☐ 120/208   ☐ 120/240   ☐ 277/480   ☐ Other:  		Phase: ☐ 1 ☐ 3

Main Circuit Breaker: ☐ No   ☐ Yes, Size   	 amps	AIC Rating

List all Circuit Use as they are listed on panel, including spares & spaces. Note amperage and # of poles for each breaker.

Circuit Use / Area Served

Breaker

Breaker

Circuit Use / Area Served

| 1 |  |
| --- | --- |
| 3 |  |
| 5 |  |
| 7 |  |
| 9 |  |
| 11 |  |
| 13 |  |
| 15 |  |
| 17 |  |
| 19 |  |
| 21 |  |
| 23 |  |
| 25 |  |
| 27 |  |
| 29 |  |
| 31 |  |
| 33 |  |
| 35 |  |
| 37 |  |
| 39 |  |
| 41 |  |

|  | 2 |
| --- | --- |
|  | 4 |
|  | 6 |
|  | 8 |
|  | 10 |
|  | 12 |
|  | 14 |
|  | 16 |
|  | 18 |
|  | 20 |
|  | 22 |
|  | 24 |
|  | 26 |
|  | 28 |
|  | 30 |
|  | 32 |
|  | 34 |
|  | 36 |
|  | 38 |
|  | 40 |
|  | 42 |

Panel Schedule Survey 3    ☐ Check if this section is not applicable	PS

Panel Name / Designation:

Manufacturer:  		Model #:

Condition: ☐ Good ☐ Fair ☐ Poor		Mounting: ☐ Surface ☐ Recessed ☐ Semi-Recessed Amperage:

Voltage: ☐ 120/208   ☐ 120/240   ☐ 277/480   ☐ Other:  		Phase: ☐ 1 ☐ 3

Main Circuit Breaker: ☐ No   ☐ Yes, Size   	 amps	AIC Rating

List all Circuit Use as they are listed on panel, including spares & spaces. Note amperage and # of poles for each breaker.

Circuit Use / Area Served

Breaker

Breaker

Circuit Use / Area Served

| 1 |  |
| --- | --- |
| 3 |  |
| 5 |  |
| 7 |  |
| 9 |  |
| 11 |  |
| 13 |  |
| 15 |  |
| 17 |  |
| 19 |  |
| 21 |  |
| 23 |  |
| 25 |  |
| 27 |  |
| 29 |  |
| 31 |  |
| 33 |  |
| 35 |  |
| 37 |  |
| 39 |  |
| 41 |  |

|  | 2 |
| --- | --- |
|  | 4 |
|  | 6 |
|  | 8 |
|  | 10 |
|  | 12 |
|  | 14 |
|  | 16 |
|  | 18 |
|  | 20 |
|  | 22 |
|  | 24 |
|  | 26 |
|  | 28 |
|  | 30 |
|  | 32 |
|  | 34 |
|  | 36 |
|  | 38 |
|  | 40 |
|  | 42 |

Panel Schedule Survey 4      ☐ Check if this section is not applicable	PS

Panel Name / Designation:

Manufacturer:  		Model #:

Condition: ☐ Good ☐ Fair ☐ Poor		Mounting: ☐ Surface ☐ Recessed ☐ Semi-Recessed Amperage:

Voltage: ☐ 120/208   ☐ 120/240   ☐ 277/480   ☐ Other:  		Phase: ☐ 1 ☐ 3

Main Circuit Breaker: ☐ No   ☐ Yes, Size   	 amps	AIC Rating

List all Circuit Use as they are listed on panel, including spares & spaces. Note amperage and # of poles for each breaker.

Circuit Use / Area Served

Breaker

Breaker

Circuit Use / Area Served

| 1 |  |
| --- | --- |
| 3 |  |
| 5 |  |
| 7 |  |
| 9 |  |
| 11 |  |
| 13 |  |
| 15 |  |
| 17 |  |
| 19 |  |
| 21 |  |
| 23 |  |
| 25 |  |
| 27 |  |
| 29 |  |
| 31 |  |
| 33 |  |
| 35 |  |
| 37 |  |
| 39 |  |
| 41 |  |

|  | 2 |
| --- | --- |
|  | 4 |
|  | 6 |
|  | 8 |
|  | 10 |
|  | 12 |
|  | 14 |
|  | 16 |
|  | 18 |
|  | 20 |
|  | 22 |
|  | 24 |
|  | 26 |
|  | 28 |
|  | 30 |
|  | 32 |
|  | 34 |
|  | 36 |
|  | 38 |
|  | 40 |
|  | 42 |